| Answer to the Mandate / Work Programme of the Standardization Request |  |
| --- | --- |
| CCMC Reference: 0001 Revision: 01 | CCMC reception date: xxxx/xx/xx EC reception date: xxxx/xx/xx (to be filled in by CCMC) |

| Mandate: M/131 ' PIPES, TANKS and ANCILLARIES not in contact with water intended for human consumption' TC: CEN/TC 266 - Thermoplastic static tanks |  |  |  |  |
| --- | --- | --- | --- | --- |
| Previous documents |  |  |  |  |
| Document | Reference | Date | EC acceptance | Date |
| Original answer to M/131 | CEN/TC266 N259 | 2001.08.23 | G5-GK/si D(03)D 855292 | 2003.07.23 |
| 1st amendment | CEN/TC266 N423 | 2010.03.12 | G5-GK/Jc ARES (2012( 651559 | 2012.05.08 |
| 2nd amendment | This document | 2018.05.15 |  |  |
| Harmonised standard | EN 13341:2005+A1:2011 | 2011-01-12 | OJEU Citation | 2011-10-01 |

| EN reference (if available): EN 13341 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| WI: 00266021 |  |  |  |  | Foreseen Date of availability (DAV): 2020-03-25 |  |  |  |
| Title: Static thermoplastic tanks for above ground storage of fuel — Product characteristics and test methods |  |  |  |  |  |  |  |  |
| Justification for title change: The term "fuel" has replaced domestic heating oils, kerosene and diesel fuels including fatty acid methyl ester (FAME) and bioliquids (containing up to 15 % FAME). The scope specifies the fuels intended for storage in tanks covered by this European Standard. Bioliquids are now included. A definition of fuel has been introduced. |  |  |  |  |  |  |  |  |
| Scope: This European Standard specifies the product characteristics and the corresponding test methods for static thermoplastic tanks made of: − blow moulded polyethylene, or − rotationally moulded polyethylene, or − rotationally moulded anionically polymerized polyamide 6, with or without factory assembled reinforcement. The products covered by this European Standard: - are intended to be used for internal or external installations, for above ground storage of fuels limited to kerosene, heating oil, diesel, fatty acid methyl ester (FAME) and bioliquids (containing up to 15 % FAME). - have a maximum filling capacity from 400 l up to and including 10 000 l, except for those made of anionically polymerised polyamide 6 where the maximum filling capacity shall be limited to 3 000 l; - are subject to atmospheric pressure but not to any external loading (e.g. installation, wind and snow, earthquakes, flooding); - are not manufactured using recycled thermoplastic material; - are not manufactured using regrind thermoplastic material for rotationally moulded tanks; - are not manufactured using more than 50 % of regrind thermoplastic material for blow moulded tanks. This standard does not include tanks for the transport and distribution of fuels or gasses, or tanks for the storage of gas. Flammable fuels with a flash point > 55 °C as determined by EN ISO 2719 are eligible for storage in the tanks described in this standard without further provisions. Flammable fuels with a flash point ≤ 55 °C as determined by EN ISO 2719 are also eligible for storage in the tanks described in this standard if the provisions concerning electrostatic behaviour according to CLC/TR 60079-32-1 are fulfilled. |  |  |  |  |  |  |  |  |
| Justification for scope changes: The scope specifies that: - products are not manufactured using recycled thermoplastic material because the consistency of the properties of the material cannot be assured when recycled material is used; - products are not manufactured using regrind thermoplastic material for rotationally moulded tanks because the rotomoulding process has a potential to depress the melt flow rate (MFR) and the durability of the material; - products are not manufactured using more than 50 % of regrind thermoplastic material for blow moulded tanks because the blowmoulding process has the potential to reduce the MFR of the material and at usage of over 50% affects the consistency of the raw material significantly; - tanks for the transport and distribution of fuels or gasses, or tanks for the storage of gas are not included because the products are only intended for storage not transport and distribution. Limitations on the storage of flammable fuels already incorrectly included in the introduction of the OJEU cited standard are now correctly moved into the intended use in the scope. |  |  |  |  |  |  |  |  |
| Intended use: To be used for internal or external installations, for above ground storage of fuels limited to kerosene, heating oil, diesel, fatty acid methyl ester (FAME) and bioliquids (containing up to 15 % FAME). |  |  |  |  |  |  |  |  |
| Family of products: TANKS, LEAKAGE ALARM SYSTEMS and OVERFILL PREVENTION DEVICES |  |  |  |  |  |  |  |  |
| Sub-family of products: TANKS |  |  |  |  |  |  |  |  |
| BRCW | Type | New proposal for Essential Characteristics (EC) / Proxies (PR) | Last TC answer Essential Characteristics (EC) / Proxies (PR) |  |  |  | Original mandated characteristics | Changes in classes and thresholds (Y/N) |
| 1 | EC | Mechanical resistance and stability1: | Mechanical resistance and stability: |  |  |  | Mechanical resistance and stability | … |
|  | PC | - density (only for polyethylene tanks) | - density (except for PA tanks) |  |  |  |  | N |
|  | PC | - melt flow rate (only for polyethylene tanks) | - melt flow rate (except for PA tanks) |  |  |  |  | N |
|  | PC | - tensile strength at yield (for all tanks) | - tensile strength |  |  |  |  | N |
|  | PC | - mass (for all tanks) | - mass |  |  |  |  | N |
|  | PC | - wall thickness (for all tanks) | - wall thickness |  |  |  |  | Y |
|  | PC | - brimful capacity (for all tanks) |  |  |  |  |  | N |
|  | PC | - elongation at yield (for all tanks) |  |  |  |  |  | N |
|  | PC | - colour bleed (only for PA6 tanks) |  |  |  |  |  | N |
| 2 | EC | Reaction to fire | Reaction to fire |  |  |  | Reaction to fire | N |
|  | EC |  |  |  |  |  | Resistance to fire | … |
| 3 + 4 | EC |  |  |  |  |  | Crushing resistance | … |
|  | EC | Internal pressure2: | Internal pressure: |  |  |  | Internal pressure | … |
|  | PC | - tank elongation (for all tanks) | - pressure resistance |  |  |  |  | N |
|  | PC | - tank deformation (only for polyethylene tanks) |  |  |  |  |  | N |
|  | EC |  |  |  |  |  | Load bearing capacity | … |
|  | EC | Impact resistance | Impact resistance |  |  |  | Impact resistance | N |
|  | EC | Permeability (Resistance to fuels)3: | Permeability: |  |  |  | Permeability | … |
|  | PC | - change in mass (for all tanks) | -resistance to domestic heating oils, kerosene and diesel fuels |  |  |  |  | N |
|  | PC | - change in tensile strength at yield (for all tanks) |  |  |  |  |  | N |
|  | PC | - change in elongation at yield (for all tanks) |  |  |  |  |  | N |
|  | EC | Tightness: Gas and liquid4: | Tightness |  |  |  | Tightness: Gas and liquid | … |
|  | PC | - air leak tightness (for all tanks) | - leak tightness |  |  |  |  | N |
|  | PC | - visual appearance (for all tanks) |  |  |  |  |  | N |
|  | PC | - water leak tightness (only for polyethylene tanks) |  |  |  |  |  | N |
|  | PC | - liquid leak tightness (only for PA6 tanks) |  |  |  |  |  | N |
|  | EC | Release of dangerous substances | Release of dangerous substances |  |  |  | Release of dangerous substances | N |
|  | EC |  |  |  |  |  | Resistance to high temperature (for heating networks) | … |
|  | EC |  |  |  |  |  | Resistance to radiation (for gas networks) | … |
|  | EC |  |  |  |  |  | Electrostatic behaviour (for fuel networks) | … |
|  | EC |  |  |  |  |  | Surface Temperature (for hot water tank in heating system only) | … |
|  | EC |  |  |  |  |  | Thermal insulation (related to Energy conservation | … |
| 6 | EC |  |  |  |  |  |  | … |
| Durability |  |  |  |  |  |  |  |  |
|  | EC | Durability5 of change of elongation at break after weathering of the material | Durability: - Durability of tensile strength after weathering |  |  |  | Durability |  |
|  |  |  | Durability: - Stress under pressure [elongation/deformation] |  |  |  |  | N |
|  |  |  |  |  |  |  |  | … |
| Documents requesting the introduction of new classes and thresholds |  |  |  |  |  |  |  |  |
| Document |  |  |  | Reference |  | Date |  |  |
| Request for the introduction of new Threshold: - Essential Characteristic 01 Mechanical resistance and stability – Proxy Wall thickness (mm) |  |  |  | - XXXXX |  | - XXXX-XX-XX |  |  |

Justifications for the proposed changes for essential characteristics

Mechanical resistance and stability (Note 1):

- Tensile strength revised to "tensile strength at yield" for technical clarification.

- Brimful capacity included to improve technical assessment

- Elongation at yield moved from durability.

- Colour bleed included for PA 6 tanks.

Internal Pressure (Note 2):

- Tank deformation moved from durability as it is a single measurement and not time related.

Permeability (Note 3): Improved specification

Tightness (Note 4): Improved specification

Durability (Note 5): Correction to the terminology by changing the term "strength" to "elongation at break after weathering"