## Infrastructure reqs
Smart metering infrastructure P&S requirements
Nr. | ref | Source | Requirement | Category | [8 empty] | Minimum Requirement
|  |  |  | Security Notification | Secure Communication | Cryptographic Support | Acces Control | Data (at rest) protection | Self Protection | Security Management | Privacy | NA | A: Provide a log for security events | B: All data exchanged end to end shall be authenticated and encrypted | C: Minimum availability of AMI components and communication network shall be and stay sufficient to perform the Use Cases the system has been designed for | D: Crypto mechanism and key management shall be documented and be compliant to recognized/proven and approved standards | E: Every AMI component shall check the authorisation of any entity requesting access and implement access control based on that | F: Data at rest shall be protected in all system components | G: System Components should be upgradable to incorporate new (security) funtionalities | H: Functionalities in system components should be limited to the intended operational Use (Cases) and not be able to compromise security functions | I: System components are adequately protected against external disturbances and/or attacks
135 | 2.2.1 | Dutch P&S reqs v2.0 | In case of detection of unauthorised access to the advanced metering infrastructure applies: - Functionality of meters and data concentrators / data routers cannot be enabled or disabled unnoticed by the grid operator. - Physical and logical connections within the advanced metering infrastructure are remotely verifiable by the grid operator - In case of failure or disconnection (uncoupling) of a P2 port connection by the meter, a warning is generated for the central system. - Meters and data concentrators / data routers detect physical attacks and generate a warning for the central system. | x |  |  | x |  | x
134 | 2.2.0 | Dutch P&S reqs v2.0 | The grid operator prevents and detects unauthorized access to, and modifications in the advanced metering infrastructure. If these things are not performed by a grid operator itself, it should then contractually secured at the relevant vendors / suppliers. | x |  |  | x
12 | SG.SC-18 | NIST | All external AMI and communication connections are identified and protected from tampering or damage. | x |  |  |  |  | x
| SLR_01.M/GW/CS | EA | A local audit trail for all security events shall be provided | x | [8 empty] | x
| SLR_02 | EA | Entries of all log files shall be protected from unauthorized changes | x | [8 empty] | x
| SLR_03.M/GW | EA | Enough memory shall be provided to store at least 100/1000 security events | x | [8 empty] | x
| SLR_03.CS | EA | The central System shall support a connection to an external logging server | x
| SAR_03.M/GW/CS | EA | Successful logins as well as failed authentication shall be logged in security log | x | [8 empty] | x
3 |  | SM-CG | Relevant status information is provided together with billing data. | x
17 | SP.24 | UK | The Smart Meter provides a local audit trail for a selected list of auditable events | x | [8 empty] | x
18 | SG.AU-15 | NIST | The AMI provides audit record generation capability and generates audit records for the selected list of auditable events | x | [8 empty] | x
19 | SG.AU-5 | NIST | The AMI generates an alert in the event of an audit processing failure and executes a set of actions to be taken. | [5 empty] | x
20 | SG.AU-7 | NIST | The AMI provides an audit reduction and report generation capability. | x
116 | SG.AC.10 | NIST | The AMI notifies the user, upon successful logon, of the date and time of the last logon and the number of unsuccessful logon attempts since the last successful logon. | x
129 | SP.27 | UK | Smart Meters shall have the ability to store the expected maximum number of security log entries generated in a period of time at least equal to the Smart Meter WAN SLA plus a reasonable safety margin. | x | [8 empty] | x
130 | SP.40 | UK | The LNAP shall have the ability to store the expected maximum number of security Log entries generated in a period of time at least equal to the Smart Meter WAN Service Level Agreement (SLA) plus a reasonable safety margin | x | [8 empty] | x
131 |  | SM-CG | Security events are logged, alarms are sent. | x | [8 empty] | x
132 | SG.SI-9 | NIST | The AMI identifies error conditions and generates error messages without revealing potentially harmful information | x | [8 empty] | x
133 | 1.6.2 | Dutch P&S reqs v2.0 | There is logging of actions with the critical system functions of system assets in the advanced metering infrastructure. Logging must be traceable to unique individual persons. | x | [8 empty] | x
136 | 2.6.0 | Dutch P&S reqs v2.0 | Suspicious and incorrect communication ('anomaly detection') of both devices (via P3-port) as third parties (through P4-port) is identified and logged. | x | [8 empty] | x
137 | 10.2.0 | Dutch P&S reqs v2.0 | All changes to data in the central system should be logged. | x | [8 empty] | x
138 | 10.2.1 | Dutch P&S reqs v2.0 | Logging should always be traced back to unique, identifiable persons | x | [8 empty] | x
187 | SP.26 | UK | The Smart Meter shall provide an alert when a safety/tamper event has occurred or if a Smart Meter failure has been detected. | x | [8 empty] | x
190 | SP.37 | UK | The LNAP shall provide an alert when a safety/tamper event has occurred where the LNAP is the endpoint, or the LNAP has failed. | x | [8 empty] | x
72 | 9.1.0 | Dutch P&S reqs v2.0 | Grid operators are ensuring that data concentrators / data routers cannot access measurement data or keys, which are used for encrypted communication between the central system and the meters. Meter data not being measurement data should be secured identically to the meter data elsewhere in the advanced metering infrastructure, and are only processed in the data concentrator / data routers for legal purposes of processing smart meter data. |  | x |  |  | x
73 | 9.1.1 | Dutch P&S reqs v2.0 | Whereby applies that data concentrators / data routers can not decrypt the encrypted messages with measurement data that are transmitted between the central system and meters; such messages are sent encrypted. Meter data, other than measurement data, can be decrypted by the data concentrator / data routers. |  | x |  |  | x
74 | 9.2.0 | Dutch P&S reqs v2.0 | - The privacy-sensitive information in the advanced metering infrastructure is, at least at the application level of the meter to the central P4 protected against attacks on confidentiality and integrity. - At the communication level, measures are taken to protect integrity (and availability) of the underlying IT facilities en networks like WAN, GPRS, CDMA, PLC. |  | x |  |  | x
79 | 11.0.0 | Dutch P&S reqs v2.0 | The grid operator ensures that private consumers and market participants can rely on the measurement data of the meter. |  | x |  |  | x
| SIR_02.M/GW/CS | EA | Validity of all data packets received shall be verified |  | x | [8 empty] | x
| SIR_04.M/GW/CS | EA | Replay attacks on interfaces shall be detected |  | x | [8 empty] | x
| SCR_01.M/GW/CS | EA | Application layer encryption shall be supported on specified interfaces with an allowed algorithm. |  | x | [8 empty] | x
1 |  | SM-CG | All data exchanges take place in a secure manner. |  | x | [8 empty] | x
10 | SG.SC-10 | NIST | The AMI establishes a trusted communications path between the user and the AMI. |  | x | [8 empty] | x
11 | SG.SC-14 | NIST | The AMI reliably associates security parameters with information exchanged |  | x
39 | 13.2.1 | Dutch P&S reqs v2.0 | The central system generates a warning if a meter or data concentrator can not be reached longer than a specified period after a periodic read out moment of the meter. The specific period (deadline) is maximally seven calendar days. | [5 empty] | x
55 | 12.10.0 | Dutch P&S reqs v2.0 | Data communication only takes place at least on logically separated connections, for the defined end-to-end secured routes. |  | x
60 | SP.53 | UK | Sensitive Data transmitted over the LNAP communication channels shall be protected against unauthorised disclosure |  | x | [8 empty] | x
61 | SP.33 | UK | The LNAP shall verify that critical commands received have not been altered in transit by unAuthorised Parties, when the LNAP is the endpoint. |  | x | [8 empty] | x
63 | SP.21 | UK | The Smart Meter shall verify that critical commands received have not been altered in transit by unAuthorised Parties when it is the endpoint of the communication. |  | x | [8 empty] | x
65 | SP.53 | UK | Sensitive Data transmitted over the LNAP communication channels shall be protected against unauthorised alteration. |  | x | [8 empty] | x
66 |  | SM-CG | Data transported in the system is protected against disclosure to parties not authorized. |  | x | [8 empty] | x
67 | SG.SC-4 | NIST | The AMI prevents unauthorized or unintended information transfer via shared resources. |  | x | [8 empty] | x
68 | SG.SC-8 | NIST | The AMI ensures the integrity and non-repudiation of electronically communicated information. | [8 empty] | x
70 | 1.1.0 | Dutch P&S reqs v2.0 | System Assets in the advanced metering infrastructure should only accept authenticated and authorised messages. |  | x | [8 empty] | x
71 | 9.0.0 | Dutch P&S reqs v2.0 | Privacy sensitive information from and to the meter should always remain end-to-end secured, that integrity and confidentiality are guaranteed. The P1 port is excluded as long this is a read-only port. |  | x | [8 empty] | x
76 | 9.3.0 | Dutch P&S reqs v2.0 | All communications from the meter must be protected so that availability, integrity and confidentiality of messages are guaranteed. |  | x | [8 empty] | Only C/I | A
77 | 9.3.1 | Dutch P&S reqs v2.0 | Whereby applies that for encryption of communication per communication channel unique keys are used. |  |  | x |  |  |  | x
78 | 9.4.0 |  | Sending several times the same message should not result in more than one acceptance of the same message ("replay attacks"). |  | x | [8 empty] | x
84 | 12.11.0 | Dutch P&S reqs v2.0 | Communication on the P0-, P2-, P3- and P4-ports is protected, such that availability, integrity, and confidentiality are protected. The P1-port is excluded, as long as it is a read-only port. |  | x | [8 empty] | Only C/I | A
120 | SG.SC-20 | NIST | The AMI provides mechanisms to protect the authenticity of device-to-device communications. |  | x | [8 empty] | x
140 | SP.60 | UK | The Smart Meter shall verify the authenticity of a Unique top-up Reference Number (UTRN) when a remote or local Prepay top-up or Balance adjustment command is received. |  | x | [8 empty] | x
168 |  | SM-CG | Read / Write / Action / Event notification services and the data carried by them are cryptographically protected. |  | x | [8 empty] | x
182 | 8.3.6 | Dutch P&S reqs v2.0 | After deployment there is not executed a meter analysis through the P0-port, with unencrypted keys. |  | x | [8 empty] | x
193 | SP.20 | UK | The Smart Meter shall check the validity of the contents and format of all Requests and Commands when it is the endpoint of the communication. |  | x | [8 empty] | x
194 | SP.32 | UK | The LNAP shall check the validity of the format of all Requests and Commands when the LNAP is the endpoint. |  | x | [8 empty] | x
195 | SG.SI-8 | NIST | The AMI employs mechanisms to check information for accuracy, completeness, validity, and authenticity. |  | x | [8 empty] | x
| SPR_01 | EA | The manufacturer shall follow the most recent version of the specified guidelines when employing cryptographic primitives and key lengths |  |  | x | [9 empty] | x
| SPT_02 | EA | All security-relevant random values SHALL be generated by cryptographic random number generators in accordance with AIS 20 [15], AIS 31 [16] or equivalent. |  |  | x | [9 empty] | x
| SRR_05.CS | EA | It shall be possible to store cryptographic keys in a secured environment of a key management system. This environment shall comply with Level 3 in FIPS 140-2 |  |  | x |  |  |  | x | [5 empty] | x
109 | SP.49 | UK | There shall be a process for revoking the credentials of handheld devices. |  |  | x |  |  |  | x | [5 empty] | x
142 | SP.62 | UK/AHWG | Any cryptographic functionality used in UTRN generation shall be compliant to a recognized/proven and approved standard |  |  | x | [9 empty] | x
143 | SP.63 | UK | The algorithm used for UTRN generation shall be published. |  |  | x | [9 empty] | x
158 | SP.2 | UK/AHWG | Any cryptographic algorithm that is relied upon for the security of the End-to-end AMI shall be compliant to a recognized/proven and approved standard |  |  | x | [9 empty] | x
159 | SP.4 | UK | Any Cryptographic Module used within the End-to-end AMI shall be compliant to a recognized/proven and approved standard |  |  | x | [9 empty] | x
160 | SP.17 | UK | Smart Meters & Displays shall support the capability to update or revoke Security Credentials remotely. |  |  | x |  |  |  | x
161 |  | GER | A cryptographic module used withing the End-to-end AMI shall support services in the following cruptographic areas: signature generation and verification, key agreements, key pair generation, random number generation, secure messaging and secure storage of key material |  |  | x |  |  |  | x | [5 empty] | x
162 |  | GER | Cryptographic keys shall be generated in accordance with a specified key generation algorythm |  |  | x |  |  |  | x
163 |  | GER | Cryptographic keys shallbe destroyed in accordance with a specified key destuction method |  |  | x |  |  |  | x
164 |  | GER | The security module shall provide signature generation, vereification, encryption and/or decription for a specified number of commands |  |  | x |  |  |  | x
165 |  | GER | The AMI shall ensure any users are unable to use the following interface circuit surface to gain access to PIN, session keys, shared secret value ZAB, ephemeral keys, private asymmetric keys of the user, symmetric keys of the user . |  |  | x |  |  | x
166 |  | SM-CG | Confidentiality and authenticity of critical messages / data is ensured by applying appropriate cryptographic protection. |  |  | x | [7 empty] | x
172 | 1.1.7 | Dutch P&S reqs v2.0 | Meters and dataconcentrators / data routers in the advanced metering infrastructure should be provided with sufficient strong passwords and / or keys. |  |  |  | x
174 | 8.2.0 | Dutch P&S reqs v2.0 | The security strength of the used algorithms within the advanced metering infrastructure is at least as strong as 128-bit AES for meters and data concentrators, with a maximum lifespan of 20 years. Cryptographic algorithms may be symmetrical or asymmetrical. |  |  | x | [9 empty] | x
175 | 8.2.1 | Dutch P&S reqs v2.0 | Partly on the basis of the forecast of NIST Technical Report 800-57 Part I, is set annually the minimum security strength (used algorithms and key lengths) for meters and dataconcentrators / data routers. Meters and dataconcentrators / data routers for which the security strength after the annual evaluation is lower than the minimum security strength at the time of placement, is set partly on the basis of NIST in Technical Report 800-57 part I at which time the replacement (possible, only the software) is necessary. |  |  | x | [9 empty] | x
178 | 8.3.2 | Dutch P&S reqs v2.0 | The crypto server provides all key management functions: - Import of the initial keys. - Key generation. - Key Renewal. - Secure (encrypted) backup. - Logging of operations with the keys. - DLMS Authentication of meters. - DLMS Encryption and decryption of messages. | [6 empty] | x
179 | 8.3.3 | Dutch P&S reqs v2.0 | To physically secure the keys sufficient, the grid operator is using at least security modules that are certified according FIPS-140 2 Level 2 and / or Common Criteria EAL4 +. | [6 empty] | x
180 | 8.3.4 | Dutch P&S reqs v2.0 | When generating keys by the crypto server, will be used a validated random number generator according RNGVS. |  |  | x
183 | 16.2.1 | Dutch P&S reqs v2.0 | The used cryptographic techniques are only based on publicly available standards (like NIST or IEEE) and the technique has been widely tested and accepted. |  |  | x
184 |  | FIPS 140-1 | A cryptographic module shall provide the capability to zeroize all plaintext cryptographic keys and other unprotected critical security parameters within the module. Zeroization of cryptographic keys and other critical security parameters is not required if the keys and parameters are either encrypted or otherwise physically or logically protected |  |  | x |  |  | x | x
2 |  | SM-CG | It is possible to use different security suites and security policies in each relationship / association between the elements of the system. |  |  |  | x |  |  | x
| SAR_01.M/GW/CS | EA | Role Based Access Controls shall be supported |  |  |  | x | [9 empty] | x
| SAR_02.M/GW/CS | EA | Mechanisms to prevent and detect unauthorized access shall be supported |  |  |  | x | [9 empty] | x
22 | SG.AU-9 | NIST | The AMI protects audit information and audit tools from unauthorized access, modification, and deletion. |  |  |  | x
23 | SG.ID-5 | NIST | The AMI automatically labels information in storage, in process, and in transmission in accordance with access control requirements, special dissemination, handling, or distribution instructions or as required by the security policy. |  |  |  | x | [9 empty] | x
24 | SP.19 | UK | The Smart Meter shall check the authorisation of the source of all Requests and Commands it receives when it is the endpoint of the communication. |  |  |  | x | [9 empty] | x
25 | SP.25 | UK | Amendments to local Security Logs within the Smart Meter and LNAP shall be restricted to authorised Smart Meter security functions. |  |  |  | x | [9 empty] | x
26 | SP.55 | UK | Security roles shall be enforced within the smart metering home area network |  |  |  | x | [9 empty] | x
28 |  | SM-CG | The system is capable of managing access rights for any of its components with an adequate granularity. |  |  |  | x | [9 empty] | x
29 |  | SM-CG | Components of the smart metering system provide role based access to data / functions. This includes the set of data and functions that can be accessed in a role and access rights to read / write data or execute commands with appropriately protected messages. It is possible to identify the user acting in a given role and log the identifier of this user. |  |  |  | x | [9 empty] | x
30 | SG.AC.4 | NIST | The AMI enforces assigned authorizations for controlling access to the AMI and data in the AMI in accordance with organization-defined policy. |  |  |  | x | [9 empty] | x
31 | SG.AC.5 | NIST | The AMI enforces assigned authorizations for controlling the flow of information in accordance with applicable policy. |  |  |  | x | [9 empty] | x
32 |  | NIST | The information system enforces assigned authorizations for controlling the flow of information within the system and between interconnected systems in accordance with applicable policy. |  |  |  | x | [9 empty] | x
33 | 12.0.0 | Dutch P&S reqs v2.0 | Access to the data communication network is set up sufficiently secure. |  |  |  | x | [9 empty] | x
34 | 12.1.0 | Dutch P&S reqs v2.0 | Storage of login data for automated access to a data communication network should only take place in the meter or data concentrator / data router. |  |  | x |  |  |  | x
53 | 12.5.0 | Dutch P&S reqs v2.0 | The grid operator ensures that data communication providers are limiting the access to (part of) a network, to only the grid operator as user of the network (exclusive access, such as a 'private APN' in GPRS and 'Domain' in CDMA). |  |  |  | x | [9 empty] | x
54 | 12.6.0 | Dutch P&S reqs v2.0 | The grid operator ensures that data communication providers are limiting the access to services, network ports and systems to what is necessary for operating the advanced metering infrastructure. |  |  |  | x | [9 empty] | x
58 | SP.28 | UK | Consumers with Smart Meters in communal areas shall have the ability to stop their personal data, outside of that needed for MID or other regulation, being displayed on the Smart Meter. | [7 empty] | x
59 | SP.29 | UK | A Display which displays information above the minimum specification must support functionality for a user to control when personal information is displayed. |  |  |  | x |  |  |  | x
89 | 14.0.0 | Dutch P&S reqs v2.0 | The grid operator controls switching commands to the meter. |  |  |  | x | [9 empty] | x
93 | 14.1.3 | Dutch P&S reqs v2.0 | There is a process established and implemented to lift a blockade of switching commands, whereby the grid operator applies the four eyes principle. | [8 empty] | x
103 | SP.43 | UK | All handheld devices shall be registered on an asset register held by an appropriate party. | [8 empty] | x
104 | SP.44 | UK | The handheld device shall be able to restrict access to authorised users only. |  |  |  | x | [9 empty] | x
105 | SP.46 | UK | The set of operations or tasks that a handheld device can perform shall be restricted. |  |  |  | x | [9 empty] | x
108 | SP.42 | UK | Each handheld device shall be a uniquely identifiable asset within the End-to-end AMI. |  |  |  | x | [9 empty] | x
110 | SP.18 | UK | The Smart Meter shall verify the authenticity of the source of all requests and commands when it is the endpoint of the communication. |  |  |  | x | [9 empty] | x
111 | SP.52 | UK | Devices on the smart metering home area network shall be mutually authenticated. |  |  |  | x |  |  |  |  | x |  |  |  |  | x
112 |  | SM-CG | The AMI provides functionality for unique identification of the source of all data communications on all of its communication interfaces. |  |  |  | x | [9 empty] | x
113 |  | SM-CG | Components of the smart metering system identify all users and access to information in the system which is provided only to users properly authenticated, within the scope of their respective roles |  |  |  | x | [9 empty] | x
114 | SG.AC.8 | NIST | The AMI enforces a limit of organization-defined number of consecutive invalid login attempts |  |  |  | x | [9 empty] | x
117 | SG.AC.11 | NIST | The organization limits the number of concurrent sessions for any user on the AMI. | [8 empty] | x
118 | SG.IA-4 | NIST | The AMI uniquely identifies and authenticates users |  |  |  | x | [9 empty] | x
119 | SG.IA-6 | NIST | The authentication mechanisms obscure feedback of authentication information during the authentication process | [8 empty] | x
128 | 1.1.3 | Dutch P&S reqs v2.0 | Getting unauthorized access to a single meter, should not result in getting access to several meters. | [6 empty] | x
144 | SP.64 | UK | Each UTRN shall be applicable only to the Smart Meter it was generated for. |  |  |  | x | [9 empty] | x
147 | SP.30 | UK | The LNAP shall verify the authenticity of all devices and systems that request access prior to allowing communication, where the LNAP is acting as a channel and not the end device. |  |  |  | x | [9 empty] | x
148 | SP.31 | UK | The LNAP shall verify the authenticity of all devices and systems that request access prior to communication where the LNAP is the endpoint. |  |  |  | x | [9 empty] | x
149 | SP.38 | UK | The LNAP shall implement access control and authorisation to allow non Smart Meters & Displays to access the home area network. |  |  |  | x | [9 empty] | x
150 | SP.39 | UK | The LNAP shall be able to authorise communications between Smart meters & Displays on the SM HAN and between the Smart meters & Displays and other devices outside of the SM home area network. |  |  |  | x | [9 empty] | x
151 | SP.41 | UK | All device traffic from an Interface or Bridge to the SM home area network shall be controlled by the LNAP or SM home area network interface. |  |  |  | x | [9 empty] | x
152 | SP.51 | UK | The LNAP shall implement network access control to ensure that Smart meters & Displays are protected from unauthorised access onto the SM home area network |  |  |  | x | [9 empty] | x
154 | SP.56 | UK | Only a predefined set of devices shall be authorised to connect to the LNAP. |  |  |  | x | [9 empty] | x
155 | SP.57 | UK | If consumer devices communicate with Smart meters & Displays on the LNAP, they shall do so through a Gateway Device which is installed on the LNAP. | [8 empty] | x
157 | SP.59 | UK | Smart meters & Displays that connect to the SM home area network directly shall use the LNAP for external network access or must implement the LNAP requirements. | [8 empty] | x
169 | 1.1.1 | Dutch P&S reqs v2.0 | Hereby applies that for keys for the meter, the following requirements should be met: - At least 10 characters long, - Composed of the set of alphanumeric characters (lowercase, uppercase and numbers), and - Random and non-traceable ('true random') generated. |  |  | x | [9 empty] | x
173 | 1.7.1 | Dutch P&S reqs v2.0 | For the data concentrator / data router applies that the locally accessible management port is secured with at least one unique combination of an username and password, which meets the password policy. Moreover applies, that when a device is connected to a management port, a warning is generated for the central system. |  |  |  | x | [5 empty] | x |  |  | x | x
176 | 8.2.2 | Dutch P&S reqs v2.0 | The grid operator can change remotely any password and any security key, used in all of the advanced metering infrastructure present meters and data concentrators / data routers. No one outside the grid operator can change the mentioned passwords and keys. |  |  |  | x | [9 empty] | x
177 | 8.2.3 | Dutch P&S reqs v2.0 | The so-called 'master key' is excluded from the requirement to change remotely the keys, provided that with this key nothing in the meter can be changed without knowing another key. |  |  |  | x | [9 empty] | x
| SIR_01.M/GW/CS | EA | Authenticity and integrity of all data received shall be verified |  | x | [8 empty] | x
5 |  | GER | User data stored in containers in the smart meter/gateway shall be controlled for integrity errors |  |  |  |  | x | [9 empty] | x
7 |  | GER | The smart meter / gateway shall ensure that any previous information content of a resource is made unavailable upon the allocation or deallocation of the resource from a defined set of objects. |  |  |  |  | x | [9 empty] | x
37 | 12.3.1 | Dutch P&S reqs v2.0 | The username and password must be stored encrypted. |  |  |  |  | x | [9 empty] | x
56 | SP.6 | UK | Smart Meters & Displays will prevent the disclosure of (critical) commands. |  |  |  |  | x | [9 empty] | x
57 | SP.15 | UK | Smart Meters & Displays will have the ability to store Sensitive Data and/or Personal Data, in a manner that protects it from unauthorised disclosure or modification. |  |  |  |  | x | [9 empty] | x
62 | SP.6 | UK | Smart Meters & displays will prevent the modifcation of critical commands. |  |  |  |  | x | [9 empty] | x
64 | SP.22 | UK | The Smart Meters shall ensure that data used for metrology or supply of energy cannot be amended or altered without detection. |  |  |  |  | x | [9 empty] | x
80 | 11.1.0 | Dutch P&S reqs v2.0 | The settings of the metrological part of the meter, and all in the metrological part stored information, including measurement data, should not be adjustable after delivery to the grid operator. |  |  |  |  | x | [9 empty] | x
81 | 11.2.0 | Dutch P&S reqs v2.0 | Registered measurement data in the central system cannot be modified. |  |  |  |  | x | [9 empty] | x
94 | 15.1.1 | Dutch P&S reqs v2.0 | Components in the meter, which contain software, are sufficient secured for (protecting) confidentiality and integrity. This means that the maintance interface is disabled or is secured. |  |  |  |  | x | [8 empty] | x | x
96 |  | ESMIG | The system and devices provide functionality to protect residual data |  |  |  |  | x | [9 empty] | x
139 | 10.2.2 | Dutch P&S reqs v2.0 | Logging should always be read only. |  |  |  |  | x |  |  |  |  | x
170 | 1.1.2 | Dutch P&S reqs v2.0 | The user name and the password must be saved encrypted. |  |  |  |  | x | [9 empty] | x
188 | SP.14 | UK | Smart Meters & Displays shall store security credentials and supporting data in a secured area or Cryptographic Module. |  |  |  |  | x | [9 empty] | x
| SFR_01.M/GW/CS | EA | System components shall have sufficient memory and computational power for security updates | [5 empty] | x | [9 empty] | x
| SFR_02.M/GW | EA | Cryptographic algorithms and communication protocols SHALL be updated by remote firmware updates. | [5 empty] | x | [9 empty] | x
| SMR_01 | EA | Each interface shall support only the data types and protocols needed to meet the functional requirements | [5 empty] | x
| SMR_02 | EA | Disabled or unused functionality shall not compromise security | [5 empty] | x | [9 empty] | x
| SRR_01.M/GW | EA | Separate functions must not negatively affect each other. Non-security functions shall not affect security | [5 empty] | x | [9 empty] | x
| SIR_03.M/GW/CS | EA | Integrity of firmware/software images shall be verified before they are applied | [5 empty] | x | [9 empty] | x
| SRR_02.M/GW/CS | EA | Confidentiality and Integrity of the data and functions must be guaranteed during failures | [5 empty] | x | [5 empty] | x
| SRR_03.M.BW/CS | EA | Physical manipulations shall be recognized | [5 empty] | x |  |  |  | x
4 |  | SM-CG | Where a NNAP with a data concentrator function is used, appropriate security mechanisms should be in place (e.g. end-to-end security for Use Cases with high security levels.) | [5 empty] | x |  |  |  |  | x
6 |  | GER | The AMI shall run a suite of self tests during initial start-up, periodically during normal operation to demonstrate the correct operation of the AMI | [5 empty] | x | [5 empty] | x
8 | SG.SC-2 | NIST | The AMI partitions the communications for telemetry/data acquisition services and management functionality. | [8 empty] | x
9 | SG.SC-3 | NIST | The AMI isolates security functions from nonsecurity functions. | [8 empty] | x
13 | SG.SC-23 | NIST | The AMI employs processing components that have minimal functionality and data storage. | [5 empty] | x | [9 empty] | x
15 | SG.SC-29 | NIST | The AMI separates user functionality from AMI management functionality. | [8 empty] | x
16 |  | ESMIG | The system and devices provide functionality to manage time drift between clocks and to allow clock synchronization | [5 empty] | x
21 | SG.AU-8 | NIST | The AMI uses internal system clocks to generate time stamps for audit records. | [5 empty] | x |  |  |  | x
27 |  | SM-CG | All communications interfaces handle all unauthorised communications without adversely affecting the operation of the remainder of the equipment. | [5 empty] | x | [5 empty] | x
38 | 13.2.0 | Dutch P&S reqs v2.0 | The grid operator should monitor the accessibility of meters and data concentrators / data routers. | [5 empty] | x | [5 empty] | x
50 | 12.2.0 | Dutch P&S reqs v2.0 | In case of data communication with the aid of a SIM card or R-UIM is build up, measures should be taken to monitor and maintain the link between the SIM card or R-UIM and the communication module. | [5 empty] | x | [5 empty] | x
51 | 12.2.1 | Dutch P&S reqs v2.0 | To be able to check if there is a proper link, the data communication provider should verify that the SIM card or R-UIM is installed in a device from the right set of modem numbers (IMEI numbers or ESN). | [5 empty] | x | [5 empty] | x
52 | 12.2.2 | Dutch P&S reqs v2.0 | In order to maintain the link, applies that: - Or the SIM card / R-UIM is glued to the communication module; - Or the SIM card / R-UIM is set in a way which, after the SIM card is used in one device, it never can be used in another device; - Or data communication providers lock the SIM card / R-UIM if this is placed outside a certain set of modem numbers. | [5 empty] | x |  |  | x
69 | SG.SC-5 | NIST | The AMI mitigates or limits the effects of denial-of-service attacks based on an organization-defined list of denial-of-service attacks. | [5 empty] | x |  |  |  |  | x
75 | 9.2.1 | Dutch P&S reqs v2.0 | Whereby applies that it is technically impossible to use the meter for mentioned information types to communicate outside the defined end-to-end secured channels. | [5 empty] | x |  |  |  |  | x
82 | 11.2.1 | Dutch P&S reqs v2.0 | Whereby applies that the central system should have a recovery possibility in case of special circumstances, such as failure of the database. | [5 empty] | x | [5 empty] | x
83 | 12.4.1 | Dutch P&S reqs v2.0 | Attacks on the availability of the P3 port of the meter with user name and password should be stopped ('DoS attack'). Temporary lockout mechanism should prevent that meters in the network should be disabled for a long time. | [5 empty] | x | [5 empty] | x
85 | 12.11.1 | Dutch P&S reqs v2.0 | To check the accuracy, applies that the meter accepts no communication outside a per port defined, limited set of allowable messages. | [5 empty] | x | [7 empty] | x
86 | 13.0.0 | Dutch P&S reqs v2.0 | The advanced metering infrastructure is adequately protected against external disturbances. | [5 empty] | x | [9 empty] | x
87 | 13.1.0 | Dutch P&S reqs v2.0 | The grid operator should protect the P3- and P4-port against attacks, including Denial of Service attacks, and to take measures to limit the effects of attacks. | [5 empty] | x | [9 empty] | x
88 | 13.1.1 | Dutch P&S reqs v2.0 | Against Denial of Service attacks it can be arranged that IP-ranges at the Internet Service Provider can be blocked, and that SIM cards / R-UIM at data communication provider can be blocked. It takes into account the following types of attacks: - Attacks on network bandwidth. - Attacks aimed at systems within the network. - Attacks on specific operating systems. - Attacks on protocol properties. - Attacks aimed at specific applications. | [5 empty] | x | [9 empty] | x
91 | 14.1.1 | Dutch P&S reqs v2.0 | The maximum number of commands for switching or limiting pass value of the meter is in the order of 0.05% per day of the total number of connections of the grid operator. This is including the commands per day that are initiated by the central system or are coming from P4 port. | [5 empty] | x |  |  |  |  | x
92 | 14.1.2 | Dutch P&S reqs v2.0 | The central system recognizes the number of switching commands that per day arrives, and freezes (block), if applicable, the possibility to give these commands. This is reported to the grid operator. | [5 empty] | x |  |  |  |  | x
95 | 15.1.2 | Dutch P&S reqs v2.0 | Software will be accepted only if it comes from an authenticated party. | [5 empty] | x | [9 empty] | x
97 | SP.16 | UK | Smart Meters & Displays that include disabled or unused functionality shall ensure that this functionality will not compromise their security, that of other Smart Meters & Displays, or the AMI. | [5 empty] | x | [9 empty] | x
98 | 3.2.0 | Dutch P&S reqs v2.0 | Unnecessary functionality is turned off, or the grid operator has the possibility to remotely disable ('hardening') the functionality. Whereby the grid operator has an overview of the available functionality of system assets. | [5 empty] | x | [9 empty] | x
99 | SP.10 | UK | Smart Meters & Displays shall verify the authenticity of the source of firmware updates before they are applied. | [5 empty] | x | [9 empty] | x
100 | SP.11 | UK | Smart Meters & Displays shall verify the integrity of firmware before they are applied. | [5 empty] | x | [9 empty] | x
101 | SP.12 | UK | Smart Meters & Displays shall not accept firmware updates that are not from an authenticated source or have failed verification and integrity checks. | [5 empty] | x | [9 empty] | x
102 | SP.13 | UK | Smart Meters & Displays shall confirm the integrity of their current firmware image when it is loaded or executed. | [5 empty] | x | [9 empty] | x
106 | SP.47 | UK | A handheld device shall be able to perform only those tasks or operations that it has been assigned by an authorised party. | [5 empty] | x | [9 empty] | x
107 | SP.48 | UK | There shall be a threshold for the number of critical commands that a handheld hevice can issue within a specified period of time before further authorisation is required | [5 empty] | x |  |  |  |  | x
121 | 1.7.0 | Dutch P&S reqs v2.0 | A data concentrator / data router should be only controllable and configurable through the P3.2 port and has maximum one, locally accessible, sufficiently secured, management port. From P3.1 port onwards it is not possible to control a data concentrator. | [8 empty] | x
122 | SP.1 | UK | Non-security functionality on AMI components, if compromised, shall not affect the overall device or system security functionality. | [5 empty] | x | [9 empty] | x
123 | SP.5 | UK | Compromise of any cryptographic material within a Smart meters & Displays shall not have a material impact on the End-to-end AMI | [5 empty] | x
124 | SP.7 | UK | Smart Meters & Displays should be designed to not fail in a manner that would compromise their security, that of other Smart Meters & Displays or the AMI. | [5 empty] | x | [5 empty] | x
125 |  | GER | The AMI shall preserve a secure state when the following types of failures occur: power loss, exposure to operating conditions wgere therefore a malfunction could occur, detection of physical manipulation or probing, integrity errors, insufficient entropy during random number generation, errors during processing cryptographic operations, errors during evaluation of access control rules | [5 empty] | x | [5 empty] | x
126 | SG.CP-11 | NIST | The AMI can execute a fail-safe procedure upon the loss of communications systems or the loss of the system itself. | [5 empty] | x | [5 empty] | x
127 | SG.SC-22 | NIST | The AMI fails to a known state for defined failures. | [5 empty] | x | [5 empty] | x
141 | SP.61 | UK | The Smart Meter shall not accept the same UTRN more than once, whether entered either remotely or via manual entry. | [5 empty] | x
145 | SP.65 | UK | Smart Meters shall implement mechanisms to limit the number of incorrect UTRN entries that can be manually entered within a defined period of time. | [5 empty] | x
146 | SP.66 | UK | Smart meters & Displays should deter and detect malicious attempts to enter UTRNs. | [5 empty] | x
153 | SP.54 | UK | The LNAP shall restrict the traffic types and protocols to and from itself and any other interfaces containing other smart devices. | [5 empty] | x | [9 empty] | x
167 |  | SM-CG | Upgrading of crypto algorithms is possible. | [5 empty] | x | [9 empty] | x
171 | 1.1.4 | Dutch P&S reqs v2.0 | Hereby applies that passwords and security keys, always per meter and per data concentrator / data router, should be unique from the time of installation of the meter or data concentrator / data router. This includes explicitly APN login information for GPRS and Domain login information for CDMA. | [5 empty] | x | [9 empty] | x
181 | 8.3.5 | Dutch P&S reqs v2.0 | Keys are only unencrypted available within the crypto server. | [5 empty] | x
185 | SP.9 | UK | Smart Meters & Displays shall have a level of resistance against Electricitytro Magnetic Interference (EMI) attacks in line with the requirements of MID and the EMC directive. | [5 empty] | x | [9 empty] | x
186 | SP.23 | UK | The Smart Meter shall incorporate tamper resistance, notification and evidence measures to deter and detect unauthorised physical access to the Smart Meter. | [5 empty] | x | [9 empty] | x
189 | SP.34 | UK | The LNAP shall incorporate tamper-evident and tamper-resistance measures to prevent and detect unauthorised physical access to the LNAP components. | [5 empty] | x |  |  |  | x | [5 empty] | x
191 |  | SM-CG | Attempting to access a local maintenance port of device will be logged and the corresponding interface is disabled for a configurable interval. | [5 empty] | x |  |  |  | x |  |  |  | x
192 |  | AHWG | Hardware protection mechanisms against physical attacks (non exhaustive e.g., platform security, tamper resistance...) shall protect security mechanism relying on secrets (non exhaustive e.g., authentication, integrity, confidentiality…). The level of protection of the secrets shall match the value of the assets protected by the mechanism. | [5 empty] | x | [9 empty] | x
14 | SG.SC-24 | NIST | The AMI includes components specifically designed to be the target of malicious attacks | [8 empty] | x
35 | 12.1.1 | Dutch P&S reqs v2.0 | In case of using a SIM card in case of GPRS or R-UIM in case of CDMA for identification, applies that APN login data are never placed on the SIM card and Domain inlog data on the R-UIM. | [8 empty] | x
36 | 12.3.0 | Dutch P&S reqs v2.0 | In case of a SIM / UIM-free solution, the user name and password to access the CDMA / GPRS network should be securely stored on the modem. | [8 empty] | x
40 | 17.1.0 | Dutch P&S reqs v2.0 | Parties that would like to use the P4-port, should be certified by the operator data exchange between energy market parties. | [8 empty] | x
41 | 17.1.1 | Dutch P&S reqs v2.0 | It is a condition (term, clause) that the operator data exchange between energy market parties for the certification of the parties has defined, and annually thereafter checks: - That they operate legitimate; - That they have realised a sufficient level of security for P4-customers, accordingly the level of security of the grid operators; and - That they have implemented sufficient privacy protection measures. | [8 empty] | x
42 | 17.1.2 | Dutch P&S reqs v2.0 | Moreover applies that in case of detected abuse or in case of low security levels, certification is revoked by the operator data exchange between energy market parties. | [8 empty] | x
43 | 17.2.0 | Dutch P&S reqs v2.0 | The Central System shall accept at the P4-port only communication of parties which are certified by the operator data exchange between energy market parties. | [8 empty] | x
44 | 17.3.0 | Dutch P&S reqs v2.0 | Grid operators may in case of reasonable suspicion of abuse, temporarily block access to the P4. They report this with motivation to the operator data exchange between energy market parties and the relevant P4-customer. | [8 empty] | x
45 | 17.3.1 | Dutch P&S reqs v2.0 | Whereby abuse on the P4-port is considered as a privacy or security incident. | [8 empty] | x
46 | 17.4.0 | Dutch P&S reqs v2.0 | Grid operator has responsibilities and duties with regard to the security functionality of all system assets, except the meter, recorded and implemented. | [8 empty] | x
47 | 17.5.0 | Dutch P&S reqs v2.0 | Requests on the P4-port of a grid operator that are related to connections outside the service area of the grid operater, shall be refused. | [8 empty] | x
48 | 17.6.0 | Dutch P&S reqs v2.0 | There is only a limited number of roles defined for the P4 port, whereby for each of these roles should be defined a limited set of allowed communication and type of messages (commands). | [8 empty] | x
49 | 17.6.1 | Dutch P&S reqs v2.0 | Whereby applies that permitted communication with Independent Servive Providers (ISP's) should be limited to only the request of measurement data. | [8 empty] | x
90 | 14.1.0 | Dutch P&S reqs v2.0 | There is a process established and implemented to send switch commands to the meter. | [8 empty] | x
115 | SG.AC.9 | NIST | An approved message or banner providing privacy and security notices is displayed before granting access to the AMI | [8 empty] | x
156 | SP.58 | UK | Smart meters & Displays that connect to the LNAP directly shall meet the security requirements. | [8 empty] | x
196 |  | AHWG | Any security mechanism shall be assessed against an internationally recognized and proven assessment scheme (non exhaustive e.g., ISO/IEC 19790:2012 (FIPS 140-x) and ISO/IEC 15408 (Common Criteria)). The investment in assessing the security mechanisms shall match the value of the eco-system protected by the mechanism. |  |  | x
|  | UK CPA | The product is required to employ measures to ensure secure restart of the device after failure. | [5 empty] | x | [5 empty] | x
|  | UK CPA | The product is required to implement software protection measures as part of the design process. | [5 empty] | x | [11 empty] | x
|  | UK CPA | The product is required to prevent unauthorised modifications to the device clock. | [5 empty] | x | [11 empty] | x
|  | UK CPA | The product is required to activate downloaded firmware only on receipt of an authentic activation command. | [5 empty] | x | [9 empty] | x
|  | UK CPA | The product is required to activate only the version of the firmware identified in the activation command. | [5 empty] | x | [9 empty] | x
|  | UK CPA | The product is required to record the version of its current executing firmware and of any firmware updates currently stored. | [5 empty] | x |  |  |  | x
|  | UK CPA | The product is required to check a secure signature over downloaded firmware on receipt of the firmware update. | [5 empty] | x | [9 empty] | x
|  | UK CPA | The product is required to check an integrity measure over the device firmware before execution. | [5 empty] | x | [9 empty] | x
|  | UK CPA | The product is required to validate all inputs before attempting to process them. | [5 empty] | x |  |  |  |  | x
|  | UK CPA | The product is required to protect against instability when processing incoming network traffic. |  | x | [9 empty] | x
|  | UK CPA | The product is required to ensure that only necessary protocols and services are available on the device. | [5 empty] | x | [10 empty] | x
|  | UK CPA | The product is required to prevent unauthorised access to all physical and logical interfaces that are not required for normal operation. |  |  |  | x | [9 empty] | x
|  | UK CPA | The product is required to ensure that operational configuration changes cannot be made without using operational interfaces. |  |  |  | x | [9 empty] | x
|  | UK CPA | The product is required to send alerts for security-related events and error conditions. | x | [8 empty] | x
|  | UK CPA | The product is required to ensure Sensitive Events, security failures and other security events are recorded in the Security Log. | x | [8 empty] | x
|  | UK CPA | The product is required to prevent modification or deletion of entries in the Security Log. | x | [8 empty] | x
|  | UK CPA | The product is required to provide capacity for at least 100 entries in the Security Log. | x | [8 empty] | x
|  | UK CPA | The product is required to employ an Entropy Source of sufficient Security Strength for all random number generation required in the operation of the product. |  |  | x | [9 empty] | x
|  | UK CPA | The product is required to employ an RNG of sufficient Security Strength for all random number generation required in the operation of the product. |  |  | x | [9 empty] | x
|  | UK CPA | The product is required to follow an approved reseeding methodology. |  |  | x | [9 empty] | x
|  | UK CPA | The product is required to generate random bits using an Entropy Source whose entropy generation capability is understood. |  |  | x | [9 empty] | x
|  | UK CPA | The product is required to sanitise temporary variables containing sensitive information as soon as no longer required. |  |  | x | [11 empty] | x
|  | UK CPA | The product is required to carry out relevant future-dated actions when the clock is updated. | [8 empty] | x
|  | UK CPA | The product is required to ensure that only authentic messages can cause a future-dated command to be added. | [8 empty] | x
|  | UK CPA | The product is required to ensure that only authentic messages can cause a future-dated command to be deleted, replaced or modified. | [8 empty] | x
|  | UK CPA | The product is required to check that messages are not actioned more than once. |  | x | [8 empty] | x
|  | UK CPA | The product is required to protect the confidentiality of sensitive data in commands, responses and alerts. |  | x | [8 empty] | x
|  | UK CPA | The product is required to carry out self-testing of RNG output. |  |  | x | [9 empty] | x
|  | UK CPA | The product is required to protect authenticity of security credentials. |  |  |  |  | x | [9 empty] | x
|  | UK CPA | The product is required to protect integrity of commands, responses and alerts. |  | x | [8 empty] | x
|  | UK CPA | The product is required to protect the authenticity of critical responses and alerts. |  | x | [8 empty] | x
|  | UK CPA | The product is required to validate user interface commands. |  | x | [8 empty] | x
|  | UK CPA | The product is required to verify that any message received on an operational interface is a valid message for that device from an authentic source that is authorised to perform the operation. |  | x | [8 empty] | x |  |  | x
|  | UK CPA | The product is required to enable remote update of security credentials. | [5 empty] | x | [9 empty] | x
|  | UK CPA | The product is required to authenticate a device on the HAN before exchanging information with it (other than that required to complete the pairing). |  |  |  | x | [9 empty] | x
|  | UK CPA | The product is required to send an alert and record a Security Log message on breach of tamper-protection boundary. | x | [8 empty] | x
|  | UK CPA | The product is required to ensure that physical access to processors, internal data lines and memory carrying sensitive data requires breach of the tamper-protection boundary. | [5 empty] | x | [11 empty] | x
|  | UK CPA | The product is required to prevent access to previous Personal Data. |  |  |  |  | x | [9 empty] | x
|  | UK CPA | The product is required to protect the stored Privacy PIN from unauthorised modification or substitution. |  |  |  |  | x | [9 empty] | x
|  | UK CPA | The product is required to reject any UTRN with a UTRN Counter that is lower than the numerically lowest value in the UTRN Counter Cache. |  | x | [6 empty] | x
|  | UK CPA | The product is required to protect the UTRN Counter Cache from unauthorised modification. |  |  |  | x | [10 empty] | x
|  | UK CPA | The product is required to send a response to the Supplier on successful application of UTRN credit entered via the user interface. | x | [7 empty] | x
|  | UK CPA | The product is required to validate UTRNs received in messages or via the user interface. | [5 empty] | x |  |  |  |  | x
|  | UK CPA | The product is required to record UTRN validation failure in the Security Log. | x | [8 empty] | x
|  | UK CPA | The product is required to limit the rate of unsuccessful UTRN validation attempts. | [5 empty] | x | [11 empty] | x
|  | UK CPA | The evaluator will attempt to induce failures and observe correct recovery behaviour. | [8 empty] | E
|  | UK CPA | The evaluator will verify that if a periodic synchronisation would result in the device's clock being shifted by more than 10 seconds it is flagged as Unreliable and an alert is raised. | [8 empty] | E
|  | UK CPA | The evaluator will validate the developer's assertions regarding the suitability and security of their update process. | [8 empty] | E
|  | UK CPA | The evaluator will perform fuzz testing of the available interfaces. | [8 empty] | E
|  | UK CPA | The evaluator will verify the state of each disabled interface. | [8 empty] | E
|  | UK CPA | The evaluator will confirm raising of alerts for security-related events and error conditions. | [8 empty] | E
|  | UK CPA | The evaluator will confirm Security Log recording. | [8 empty] | E
|  | UK CPA | The evaluator will ensure all cryptographic algorithms employed for security functionality have been validated as per the "Cryptography Review" section in the CPA Foundation Process document. | [8 empty] | E
|  | UK CPA | The evaluator will confirm device behaviour leading to cancellation of future-dated actions. | [8 empty] | E
|  | UK CPA | The evaluator will verify that messages are not actioned more than once. | [8 empty] | E
|  | UK CPA | The evaluator will verify encryption of sensitive data in commands, responses and alerts. | [8 empty] | E
|  | UK CPA | The evaluator will confirm standard protocol certification of the device has been successfully completed. | [8 empty] | E
|  | UK CPA | The evaluator will verify that critical commands are not executed if the sender of the command cannot be successfully authenticated or is not authorised to send that command. | [8 empty] | E
|  | UK CPA | The evaluator will verify that the update of a security credential is atomic. | [8 empty] | E
|  | UK CPA | The evaluator will verify the authenticity protection of security credentials. | [8 empty] | E
|  | UK CPA | The evaluator will validate the developer's assertions regarding tamper response. | [8 empty] | E
|  | UK CPA | The evaluator will confirm the tamper-protection boundary. | [8 empty] | E
|  | UK CPA | The evaluator will confirm the protection of access to cryptographic key material. | [8 empty] | E
|  | UK CPA | The evaluator will verify correct meter response after a Restrict Data command. | [8 empty] | E
|  | UK CPA | The evaluator will verify that a Privacy PIN must be 4 digits. | [8 empty] | E
|  | UK CPA | The evaluator will verify that the Privacy PIN is required before access to protected data and commands. | [8 empty] | E
|  | UK CPA | The evaluator will ensure all cryptographic algorithms employed for security functionality have been validated as per the "Cryptography Review" section in the CPA Foundation Process document. | [8 empty] | E |  |  |  | x
|  | UK CPA | The deployment is required to state device manufacturer guidance on secure installation, initialisation and operation. | [8 empty] | O
|  | UK CPA | The deployment is required to set the clock on a device on installation. | [8 empty] | O
|  | UK CPA | The deployment is required to include guidance on requirements to manage non-operational interfaces. | [8 empty] | O
|  | UK CPA | The deployment is required to regularly review the Security Log for unexpected entries. | [8 empty] | O
|  | UK CPA | The deployment is required to implement procedures for reconciliation of data read from the meter with data expected to be present as a result of commands sent. | [8 empty] | O
|  | UK CPA | The deployment is required to ensure that only appropriately authorised devices can join a meter related HAN. | [8 empty] | O
|  | UK CPA | The deployment is required to place tamper evident seals at access points on product. | [8 empty] | O
|  | UK CPA | The deployment is required to provide advice on the tamper threat and tamper seal inspection. | [8 empty] | O
|  | UK CPA | The deployment is required to issue advice to users on selection, secure handling and entry of Privacy PIN. | [8 empty] | O
|  | UK CPA | The deployment is required to issue a Restrict Data command on change of tenancy. | [8 empty] | O
|  | UK CPA | The deployment is required to implement procedures for secure recommissioning when previously-installed devices are re-installed. | [8 empty] | O
|  | UK CPA | The deployment is required to recover and ensure secure disposal of devices at the end of their life. | [8 empty] | O
|  | UK CPA | The deployment is required to contain no security data that enables compromise of a different device. | [8 empty] | O
|  | UK CPA | The deployment is required to ensure new Security Credentials are generated by the device once it is installed. | [8 empty] | O
|  | UK CPA | The deployment is required to reconcile records of UTRNs successfully applied with those issued. | [8 empty] | O

## Organizational reqs
Smart metering organizational requirements
Nr. | ref | Source | Requirement
General security requirements
197 |  | 27001 | An information security policy document shall be approved by management, andpublished and communicated to all employees and relevant external parties.
198 |  | 27001 | The information security policy shall be reviewed at planned intervals or if significant changes occur to ensure its continuing suitability, adequacy, and effectiveness
199 |  | 27001 | A management authorization process for new information processing facilities shall be defined and implemented.
200 |  | 27001 | The organization’s approach to managing information security and its implementation (i.e. control objectives, controls, policies, processes, and procedures for information security) shall be reviewed independently at planned intervals, or when significant changes to the security implementation occur.
201 |  | 27001 | Timely information about technical vulnerabilities of information systems being used shall be obtained, the organization's exposure to such vulnerabilities evaluated, and appropriate measures taken to address the associated risk.
202 |  | ENISA | The organization establishes and maintains an appropriate risk management framework for risk assessment and risk treatment activities across the organisation which will take into account the complex operational environment.
203 |  | ENISA | The organization establishes and performs risk assessment activities to identify and evaluate the risk across the organisation at regular intervals.
204 |  | ENISA | Security testing activities on the AMI are performed in order to verify its security.
205 |  | ENISA | The organization ensures that the base security configuration of the AMI components/systems is identified, set and maintained for every instance of that component/system.
206 |  | NIST | The organization develops, disseminates, and periodically reviews/updates: (i) a formal, documented, configuration management policy that addresses purpose, scope, roles, responsibilities, management commitment, coordination among organizational entities, and compliance; and (ii) formal, documented procedures to facilitate the implementation of the configuration management policy and associated configuration management controls
207 |  | NIST | The organization authorizes, documents, and controls changes to the AMI
208 |  | NIST | The organization develops, documents, and maintains a current inventory of the components of the AMI and relevant ownership information.
209 |  | NIST | The organization: (i) establishes mandatory configuration settings for information technology products employed within the AMI; (ii) configures the security settings of information technology products to the most restrictive mode consistent with operational requirements; (iii) documents the configuration settings; and (iv) enforces the configuration settings in all components of the information system.
210 |  | NIST | The organization develops, disseminates, and periodically reviews/updates: (i) a formal, documented, information system maintenance policy that addresses purpose, scope, roles, responsibilities, management commitment, coordination among organizational entities, and compliance; and (ii) formal, documented procedures to facilitate the implementation of the AMI maintenance policy and associated system maintenance controls.
211 |  | NIST | The organization schedules, performs, documents, and reviews records of routine preventative and regular maintenance (including repairs) on the components of the AMI in accordance with manufacturer or vendor specifications and/or organizational requirements.
212 |  | NIST | The organization approves, controls, and monitors the use of AMI maintenance tools and maintains the tools on an ongoing basis.
213 |  | NIST | The organization develops, disseminates, and periodically reviews/updates: (i) a formal, documented, security planning policy that addresses purpose, scope, roles, responsibilities, management commitment, coordination among organizational entities, and compliance; and (ii) formal, documented procedures to facilitate the implementation of the security planning policy and associated security planning controls.
214 |  | NIST | The organization develops and implements a security plan for the AMI that provides an overview of the security requirements for the system and a description of the security controls in place or planned for meeting those requirements.
215 |  | NIST | The organization develops, disseminates, and periodically reviews/updates: (i) a formal, documented, personnel security policy that addresses purpose, scope, roles, responsibilities, management commitment, coordination among organizational entities, and compliance; and (ii) formal, documented procedures to facilitate the implementation of the personnel security policy and associated personnel security controls
216 |  | NIST | The organization assigns a risk designation to all positions and establishes screening criteria for individuals filling those positions. The organization reviews and revises position risk designations
217 |  | NIST | The organization screens individuals requiring access to organizational information and information systems before authorizing access.
218 |  | NIST | The organization completes appropriate signed access agreements for individuals requiring access to organizational information and information systems before authorizing access and reviews/updates the agreements
219 |  | NIST | The organization manages the information system using a system development life cycle methodology that includes information security considerations.
220 |  | NIST | The organization enforces explicit rules governing the installation of software by users.
221 | 11.3.0 | Dutch P&S reqs v2.0 | The grid operator ensures that the time of the Central System, as used for time synchronisation of meters, not deviate more than a second of the set time.
222 | 16.0.0 | Dutch P&S reqs v2.0 | The grid operator is recording in contracts with vendors / suppliers of products and services, an acceptable security level.
223 | 16.1.0 | Dutch P&S reqs v2.0 | The grid operator ensures that installation companies only can work with meters and data concentrators / data routers, if they can demonstrate that they are realising an adequate level of security, which is accordingly the level of security of the grid operator.
224 | 16.1.1 | Dutch P&S reqs v2.0 | The following measures are part of the written agreements between the grid operator and the installation companies: - The installation company signs a data processing agreement. - The installation states in the data processing agreement with the grid operator that the installation company will handle sensitive information confidential. - Privacy-sensitive information is destroyed after use, or as soon as the grid operator asks for it. - The grid operator has the right to audit and (at random) to check if installation companies and their mechanics work accordingly to the Dutch Requirements for Privacy and Security of the Advanced Metering Infrastructure and security policy of the grid operator itself. The grid operator makes at least use of this right in case of suspicions of not acting in accordance with the agreements.
225 | 16.2.0 | Dutch P&S reqs v2.0 | In contracts with suppliers of products and services is recorded that in practice, the applied security solutions are available on request for evaluating agencies, where there is no secrecy of design or source code of (parts of) the security solutions that are practically applied.
Requirements related to audit & accountability
226 |  | NIST | The organization develops, disseminates, and periodically reviews/updates: (i) a formal, documented, audit and accountability policy that addresses purpose, scope, roles, responsibilities, management commitment, coordination among organizational entities, and compliance; and (ii) formal, documented procedures to facilitate the implementation of the audit and accountability policy and associated audit and accountability controls
227 |  | NIST | The organization regularly reviews/analyzes AMI audit records for indications of inappropriate or unusual activity, investigates suspicious activity or suspected violations, reports findings to appropriate officials, and takes necessary actions.
228 |  | ENISA | The organization establishes and maintains monitoring activities on the AMI systems and components.
229 |  | ENISA | The organization protects the audit information generated.
230 |  | 27001 | System administrator and system operator activities shall be logged.
231 |  | 27001 | Logging facilities and log information shall be protected against tampering and unauthorized access.
232 | 7.3.0 | Dutch P&S reqs v2.0 | The grid operator ensures that all vendors / suppliers of products and services contribute to audits by or on behalf of the grid operator, to the extent they relate to the privacy and information security aspects of the advanced metering infrastructure.
Requirements related to access control
233 |  | NIST | The organization develops, disseminates, and periodically reviews/updates: (i) a formal, documented, access control policy that addresses purpose, scope, roles, esponsibilities, management commitment, coordination among organizational entities, and compliance; and (ii) formal, documented procedures to facilitate the implementation of the access control policy and associated access controls
234 |  | NIST | The organization manages AMI accounts, including establishing, activating, modifying, reviewing, disabling, and removing accounts. The organization reviews AMI accounts
235 |  | NIST | The organization supervises and reviews the activities of users with respect to the enforcement and usage of AMI access controls.
236 |  | NIST | The organization identifies and documents specific user actions that can be performed on the AMI without identification or authentication.
237 |  | NIST | The organization authorizes, monitors, and controls all methods of remote access to the AMI
238 |  | NIST | The organization: (i) establishes usage restrictions and implementation guidance for organization-controlled portable and mobile devices; and (ii) authorizes, monitors, and controls device access to organizational information systems.
239 | 1.0.0 | Dutch P&S reqs v2.0 | Access security in the advanced metering infrastructure is implemented.
240 | 1.6.0 | Dutch P&S reqs v2.0 | The operations of critical system functions in the advanced metering infrastructure, should only take place under increased supervision, and on the basis of maximum separation of functions (duties in the organisation), where technically possible, logging of the performed activities is taking place. Logging must be traceble to unique, individual persons.
241 | 1.6.1 | Dutch P&S reqs v2.0 | The following activities are regarded as critical system functions: - The ability to switch and Reduce meters. - Updating software. - Management of keys and passwords. - Commissioning of meters. When meters are switched, the four-eye principle is applicable, even if it are switching commands coming from the P4-portal. P4-portal is the Dutch data exchange system between energy market participants.
242 |  | 27001 | Users shall only be provided with access to the services that they have been specifically authorized to use.
243 |  | 27001 | Physical and logical access to diagnostic and configuration ports shall be controlled.
244 |  | 27001 | Access to program source code shall be restricted.
Requirements related to the communication network
245 |  | NIST | The organization develops, disseminates, and periodically reviews/updates: (i) a formal, documented, system and communications protection policy that addresses purpose, scope, roles, responsibilities, management commitment, coordination among organizational entities, and compliance; and (ii) formal, documented procedures to facilitate the implementation of the system and communications protection policy and associated system and communications protection controls.
246 | 12.7.0 | Dutch P&S reqs v2.0 | The grid operator ensures that the data communication providers have defined, documented and implemented procedures for the moment of an emergency, in which it is neccesary to quickly shutdown the part of the data communications network for the advanced metering infrastructure.
247 | 12.8.0 | Dutch P&S reqs v2.0 | The grid operator guarantees by means of contractual arrangements, that the data communication provider timely consults with the grid operator on future changes of the communication function. Whereby is taken into account the lifetime of this functionality.
248 | 12.9.0 | Dutch P&S reqs v2.0 | The grid operator should record contractually that the data communication providers have taken network security measures for the privacy and security of the advanced metering infrastructure.
249 | 12.9.1 | Dutch P&S reqs v2.0 | Both preventive and detective measures are taken to secure communication networks, including in any case: - Firewalls to protect the network infrastructure at the data communications provider. - Where relevant, the installation of anti-virus software. - Where relevant, logging and monitoring by means of Intrusion Detection Systems or Intrusion Prevention Systems.
250 |  | 27001 | Groups of information services, users, and information systems shall be segregated on networks.
251 |  | 27001 | For shared networks, especially those extending across the organization’s boundaries, the capability of users to connect to the network shall be restricted, in line with the access control policy and requirements of the business applications
Requirements related to protection of confidentiality - integrity - availability
252 |  | NIST | The organization develops, disseminates, and periodically reviews/updates: (i) a formal, documented, system and information integrity policy that addresses purpose, scope, roles, responsibilities, management commitment, coordination among organizational entities, and compliance; and (ii) formal, documented procedures to facilitate the implementation of the system and information integrity policy and associated system and information integrity controls.
253 |  | NIST | The organization identifies, reports, and corrects information system flaws.
254 |  | NIST | The organization establishes and maintains appropriate third party agreements to preserve the integrity, confidentiality and availability of the information at the same level as the internal services when dealing with customers and third parties.
255 |  | ENISA | The organization implements security requirements in order to protect the information on the AMI.
256 |  | 27001 | Data input to applications shall be validated to ensure that this data is correct and appropriate.
257 |  | 27001 | Validation checks shall be incorporated into applications to detect any corruption of information through processing errors or deliberate acts.
258 |  | 27001 | Requirements for ensuring authenticity and protecting message integrity in applications shall be identified, and appropriate controls identified and implemented.
259 |  | 27001 | Data output from an application shall be validated to ensure that the processing of stored information is correct and appropriate to the circumstances.
Requirements related to lifecycle management
260 |  | ENISA | The organization establishes and maintains activities for software/firmware upgrade on the components of the AMI.
261 |  | UK reqs | Assets containing personal, operational or Sensitive Data that are being disposed of, shall be done so in such a way that the data is securely deleted.
262 | 1.1.5 | Dutch P&S reqs v2.0 | Grid operators should replace all factory-included passwords and keys for the meter, not later than the first communication with the Central System.
263 | 3.0.0 | Dutch P&S reqs v2.0 | The grid operator maintains an acceptable level of security for new and existing system assets.
264 | 3.1.0 | Dutch P&S reqs v2.0 | The grid operators should test the security requirements for system assets in the acceptance tests, to determine if the security functionality of the delivered system assets is properly and fully implemented. In case of a negative outcome during the acceptance tests the shortcomings in the security functionality are solved, before the system assets become operational.
265 | 3.3.0 | Dutch P&S reqs v2.0 | Grid operator should ensure that in the design of meters and data concentrators / data routers is analysed which changes in the security functionality are possible, taken into account the lifespan of this functionality ('Future proof').
266 | 5.0.0 | Dutch P&S reqs v2.0 | The installation of the meter is a controlled process, and the physical integrity of the meter after installation is checked.
267 | 5.1.0 | Dutch P&S reqs v2.0 | The grid operator has established and implemented procedures which guarantees that the installation of the meter is a controlled process, and next that is checked the physical integrity of the meter after the installation.
268 | 5.1.1 | Dutch P&S reqs v2.0 | During the installation is checked whether the meter is placed at the right address.
269 | 5.1.2 | Dutch P&S reqs v2.0 | During the installation is checked whether the electricity meter and gas meter are connected correctly.
270 | 5.1.3 | Dutch P&S reqs v2.0 | During the installation is checked whether the security functionality is enabled.
271 | 5.1.4 | Dutch P&S reqs v2.0 | During the installation is checked whether the meter settings (time, date, price) are set correctly.
272 | 5.2.0 | Dutch P&S reqs v2.0 | Included in the connection agreements, is that the control of the physical meter shall be conform the Metering Code ("Meetcode").
273 | 6.0.0 | Dutch P&S reqs v2.0 | The grid operator ensures that system assets are safely removed and replaced, also for relocating.
274 | 6.1.0 | Dutch P&S reqs v2.0 | The grid operator has established and implemented procedures for safely destroying end-of-life system assets, on which personal data can be found.
275 | 6.2.0 | Dutch P&S reqs v2.0 | The grid operator has established and implemented procedures for replacing or relocating meters, whereby the confidentiality of data in the meters is guaranteed.
276 | 10.0.0 | Dutch P&S reqs v2.0 | The grid operator controls changes in the advanced metering infrastructure.
277 | 10.1.0 | Dutch P&S reqs v2.0 | Within the grid operator, a process should be established and implemented for change management of system assets within the advanced metering infrastructure.
278 | 10.1.1 | Dutch P&S reqs v2.0 | Hereby applies that change management procedures should be included in the quality management system of the grid operator.
279 | 10.3.0 | Dutch P&S reqs v2.0 | Grid operators should have implemented a configuration management process
280 | 10.3.1 | Dutch P&S reqs v2.0 | Grid operators have an overview of the system assets which are present in the advanced metering infrastructure as part of the configuration management process.
281 | 10.3.2 | Dutch P&S reqs v2.0 | The overview of system assets include at least the following components: Of meters and data concentrators / data routers: - Identifier. - Manufacturer and type. - Software version. Specific for the central system: - Architecture Overview. Additionally, there is available an overview of the entire advanced metering infrastructure with its system assets and the linkages between them.
282 | 15.0.0 | Dutch P&S reqs v2.0 | The grid operator controls the software on meters and data concentrators / data routers.
283 | 15.1.0 | Dutch P&S reqs v2.0 | The grid operator can quickly and safely update critical security functionality of installed meters and data concentrators / data routers, whereby the grid operator performs an impact analysis which also determines which term is used.
284 | 15.2.0 | Dutch P&S reqs v2.0 | The grid operator ensures that regularly is checked the software versions and present security functionality of meters and data concentrators / data routers.
285 | 15.2.1 | Dutch P&S reqs v2.0 | The grid operator ensures that it is technically possible to query and check the software versions and present security functionality, including relevant configuration data in the advanced metering infrastructure.
286 | 15.3.0 | Dutch P&S reqs v2.0 | If data concentrators / data routers are using standard operating systems, grid operators should ensure that (security) patches quickly and consistently are applied, and the following functions are implemented: intrusion detection, logging (creating log files and analysing them) and firewalls.
287 | 15.4.0 | Dutch P&S reqs v2.0 | Before software updates are installed, they will follow an established testing process. In case of a negative outcome of the performed tests, the shortcomings in the software update are corrected before installing the update.
Requirements related to identification and authentication
288 |  | NIST | The organization develops, disseminates, and periodically reviews/updates: (i) a formal, documented, identification and authentication policy that addresses purpose, scope, roles, responsibilities, management commitment, coordination among organizational entities, and compliance; and (ii) formal, documented procedures to facilitate the implementation of the identification and authentication policy and associated identification and authentication controls.
289 |  | NIST | The organization manages user identifiers by: (i) uniquely identifying each user; (ii) verifying the identity of each user; (iii) receiving authorization to issue a user identifier from an appropriate organization official; (iv) issuing the user identifier to the intended party; (v) disabling the user identifier and (vi) archiving user identifiers
290 | 1.4.0 | Dutch P&S reqs v2.0 | Within the grid operator an authorisation management for system assets in the advanced metering infrastructure should be established and implemented, whereby the grid operator has control on the access to the advanced metering infrastructure.
291 | 1.4.1 | Dutch P&S reqs v2.0 | Authorisation management procedures should be included in the quality management system of the grid operator. At least once a year, the grid operator checks whether the rights of persons with access to the advanced metering infrastructure are consistent with their function (duty in the organisation).
292 | 1.5.0 | Dutch P&S reqs v2.0 | Employees of the grid operators should have only access to that functionality and that information in the advanced metering infrastructure, which is absolutely (unquestioned) needed for the work they carry out according to their function (duty in the organisation).
293 | 1.5.1 | Dutch P&S reqs v2.0 | Grid operators should record authorisations in an authorisation matrix, which is up-to-date. Access is granted, modified and deprived only within a defined authorisation process. This also applies to all external staff of the grid operator.
Requirements related to incident damage control
294 |  | NIST | The organization develops, disseminates, and periodically reviews/updates: (i) a formal, documented, contingency planning policy that addresses purpose, scope, roles, responsibilities, management commitment, coordination among organizational entities, and compliance; and (ii) formal, documented procedures to facilitate the implementation of the contingency planning policy and associated contingency planning controls
295 |  | NIST | The organization develops and implements a contingency plan for the AMI addressing contingency roles, responsibilities, assigned individuals with contact information, and activities associated with restoring the system after a disruption or failure. Designated officials within the organization review and approve the contingency plan and distribute copies of the plan to key contingency personnel.
296 |  | NIST | The organization reviews the contingency plan for the AMI and revises the plan to address system/organizational changes or problems encountered during plan implementation, execution, ortesting
297 |  | NIST | The organization identifies an alternate storage and processing site and initiates necessary agreements to permit the storage of information system backup information.
298 |  | NIST | The organization identifies primary and alternate telecommunications services to support the AMI and initiates necessary agreements to permit the resumption of operations when the primary telecommunications capabilities are unavailable
299 |  | NIST | The organization conducts backups of user-level and system-level information (including system state information) contained in the AMI and protects backup information at the storage location.
300 |  | NIST | The organization employs mechanisms with supporting procedures to allow the AMI to be recovered and reconstituted to a known secure state after a disruption or failure.
301 |  | NIST | The organization develops, disseminates, and periodically reviews/updates: (i) a formal, documented, incident response policy that addresses purpose, scope, roles, responsibilities, management commitment, coordination among organizational entities, and compliance; and (ii) formal, documented procedures to facilitate the implementation of the incident response policy and associated incident response controls.
302 |  | NIST | The organization trains personnel in their incident response roles and responsibilities with respect to the information system and provides refresher training
303 |  | NIST | The organization implements an incident handling capability for security incidents that includes preparation, detection and analysis, containment, eradication, and recovery.
304 |  | NIST | The organization tracks and documents information system security incidents on an ongoing basis.
305 |  | 27001 | Management responsibilities and procedures shall be established to ensure a quick, effective, and orderly response to information security incidents.
306 |  | 27001 | A managed process shall be developed and maintained for business continuity throughout the organization that addresses the information security requirements needed for the organization’s business continuity.
307 |  | 27001 | Plans shall be developed and implemented to maintain or restore operations and ensure availability of information at the required level and in the required time scales following interruption to, or failure of, critical business processes.
308 | 2.0.0 | Dutch P&S reqs v2.0 | The grid operator controls the incident management.
309 | 2.1.0 | Dutch P&S reqs v2.0 | Grid operators and the branch organisation Netbeheer Nederland have each established and implemented procedures on how to deal with privacy and information security incidents that could damage the entire sector.
310 | 2.1.1 | Dutch P&S reqs v2.0 | Grid operators have a system in which are registered both privacy incidents and information security incidents in the advanced metering infrastructure. This system provides timely and accurate information about incidents to a national incident register . Grid operators record these incidents conform their own incident management, and process the incidents adequate. Netbeheer Nederland evaluates all reported incidents on sector-wide impact and when applicable, settle this sector wide. Hereby applies that both the register at the grid operator and the national incident register are only accessible by employees of the grid operators.
311 | 2.3.0 | Dutch P&S reqs v2.0 | Grid operators have recorded and implemented procedures and instructions that describe how employees deal with privacy and information security incidents. Grid operators actively reach out to their employees about this topic.
312 | 2.3.1 | Dutch P&S reqs v2.0 | Grid operators have established and implemented sector-wide procedures, where on the one hand is defined how information from incidents is converted into policy to be able to structurally prevent incidents to happen. On the other hand is recorded how to act and respond quickly in case of a calamity because of an incident.
313 | 2.4.0 | Dutch P&S reqs v2.0 | The grid operator must guarantee that processes are defined and implemented for the generated events by the meter or data concentrator, to assess it and take appropriate steps where this could lead to an incident.
314 | 2.5.0 | Dutch P&S reqs v2.0 | The grid operator has established and implemented processes to identify suspicious and incorrect communication of both system assets (via P3-port) as third persons/parties (through P4-port) to register, assess and take appropriate action.
315 | 4.0.0 | Dutch P&S reqs v2.0 | The grid operator shall take measures to ensure that private consumers will not manipulate measurement data.
316 | 4.1.0 | Dutch P&S reqs v2.0 | In written agreements with the private consumer is stated that the measurement data, the communication function and the measurement function should not be manipulated or blocked.
317 | 4.1.1 | Dutch P&S reqs v2.0 | Grid operators can enforce agreements with private consumers by means of connection agreements. Hereby the communication can take place by means of for example a PDA, a letter or an email.
318 | 7.1.0 | Dutch P&S reqs v2.0 | The grid operator guarantees, through contractual arrangements that vendors / suppliers of services and products, that identified vulnerabilities and incidents are proactively notified, and in consult with the grid operator as soon as possible are solved. This is related to the incident management process of the grid operators.
319 | 7.2.0 | Dutch P&S reqs v2.0 | The grid operator ensures that any vendor / supplier of system assets deliveres a written statement, which determines that its products contain no backdoors, that make it possible to access unauthorised the advanced metering infrastructure.
320 | 13.3.0 | Dutch P&S reqs v2.0 | To overcome calamities related to processing personal data (within the advanced metering infrastructure), should be established approved procedures by or on behalf of the grid operator. In applying these procedures, all actions taken by the grid operator in the context of overcoming the calamities are recorded.
Requirements related to logs, events and alarms
321 |  | NIST | The organization employs tools and techniques to monitor events on the information system, detect attacks, and provide identification of unauthorized use of the system.
322 |  | NIST | The organization receives information system security alerts/advisories on a regular basis, issues alerts/advisories to appropriate personnel, and takes appropriate actions in response.
Requirements related to security keys
323 |  | NIST | When cryptography is required and employed within the information system, the organization establishes and manages cryptographic keys using automated mechanisms with supporting procedures or manual procedures.
324 | 1.1.6 | Dutch P&S reqs v2.0 | Grid operators have a key and password policy defined and implemented, for all passwords in the advanced metering infrastructure. By means of this policy the grid operators shall set a deadline, by which passwords and keys are changed.
325 | 1.2.0 | Dutch P&S reqs v2.0 | Passwords and security keys should be replaced within a reasonable period after being breached. Reasonable period is on the one hand defined by the potential benefits for a hacker, and on the other hand defined by the technical capabilities of a grid operator.
326 | 7.4.0 | Dutch P&S reqs v2.0 | The grid operator ensures that manufacturers of system assets have formulated and implemented adequate security processes for production process of the system assets.
327 | 7.4.1 | Dutch P&S reqs v2.0 | The grid operators have written agreements with all manufacturers of system assets on generation, installation, storage, sending (transportation) and disposal of keys and passwords. Part of the agreement is that manufacturers all by themselves generated keys and passwords are instantly and permanently removed from all of the system assets, at the instructions of the grid operator.
328 | 8.0.0 | Dutch P&S reqs v2.0 | The availability, integrity and confidentiality of the encryption keys are protected by the grid operator.
329 | 8.1.0 | Dutch P&S reqs v2.0 | Securing the availability, integrity and confidentiality of the encryption keys are protected by the grid operator. At vendors / suppliers is done by means of contracts.
330 | 8.3.0 | Dutch P&S reqs v2.0 | Grid operator has established and implemented processes regarding key and password management.
331 | 8.3.1 | Dutch P&S reqs v2.0 | Importing initial factory keys in the crypto server is only possible through a described and implemented process, whereby the availability, integrity and confidentiality of the factory keys is guaranteed.
Requirements related to physical protection
332 |  | NIST | The organization develops, disseminates, and periodically reviews/updates: (i) a formal, documented, physical and environmental protection policy that addresses purpose, scope, roles, responsibilities, management commitment, coordination among organizational entities, and compliance; and (ii) formal, documented procedures to facilitate the implementation of the physical and environmental protection policy and associated physical and environmental protection controls.
333 |  | 27001 | Secure areas shall be protected by appropriate entry controls to ensure that only authorized personnel are allowed access.
334 |  | 27001 | Physical security for offices, rooms, and facilities shall be designed and applied.
335 |  | 27001 | Physical protection against damage from fire, flood, earthquake, explosion, civil unrest, and other forms of natural or man-made disaster shall be designed and applied.
336 |  | 27001 | Development, test and operational facilities shall be separated to reduce the risks of unauthorised access or changes to the operational system.
337 |  | ENISA | The organization establishes and maintains the appropriate physical security of the AMI facilities/components/systems.
338 |  | ENISA | The organization establishes and maintains capabilities for logging and monitoring the physical access to the AMI facilities/components taking into account the criticality of the facility.
339 | 1.3.0 | Dutch P&S reqs v2.0 | Meters and data concentrators / datarouters that are operational, should always be sealed.
340 | 1.7.2 | Dutch P&S reqs v2.0 | Data concentrators are at least installed in physically lockable rooms.
Privacy protection
341 | 7.5.0 | Dutch P&S reqs v2.0 | If personal data are transferred to a party (processor or third party) located in a country that does not offer adequate protection in accordance with Directive 95/46/EC, the grid operator shall ensure, prior to data transfer, that all the requirements of the Dutch Personal Data Protection Act ('Wbp') are met. Transfer of data takes place only after the grid operator has received the permit for the data transfer, which is granted by the Minister of Justice. The grid operator takes measures which provide that the data transfer takes place in accordance with the requirements of the permit.
342 | 7.5.1 | Dutch P&S reqs v2.0 | In case of processing personal data outside the EU the grid operator ensures that there is a contract, which is using the standard EU model contracts, and must apply for a permit at the Dutch Data Protection Authority ('College bescherming persoonsgegevens, Cbp'). Furthermore, the grid operator decides annually if the agreements of the permit are met.
343 | G1.0.0 | Dutch P&S reqs v2.0 | The Grid Operator shall process Personal Data in accordance with the law and in a fair manner.
344 | G1.1.0/G1.2.0 | Dutch P&S reqs v2.0 | Without prejudice to this Code, the Grid Operator may publish a privacy policy, which specifies in more detail the policy of the Grid Operator with respect to the processing of Personal Data.
345 | G.1.2.2-G1.2.6 | Dutch P&S reqs v2.0 | The grid operator must assess the privacy and security policy at least annually and as soon as significant developments occur, and, if necessary, revise it to ensure that it remains appropriate, adequate and effective.
346 | G.1.3.0 | Dutch P&S reqs v2.0 | Identification of devices must take place on the basis of the device number or on a combination of a device type and serial number.
347 | G.1.4.0 | Dutch P&S reqs v2.0 | Personal data, location-specific information and EAN codes must never be stored in a device, with the exception of meter readings.
348 | G.1.5.0 | Dutch P&S reqs v2.0 | It must not be possible to derive consumption patterns from the frequency or size of message traffic from the smart meter, including P2 or P3 data traffic.
349 | G2.2.0 | Dutch P&S reqs v2.0 | The responsibilities and tasks of employees within the grid operator’s organisation concerning privacy and security must be defined, documented and implemented.
350 | G2.4.0 | Dutch P&S reqs v2.0 | Every Grid Operator shall ensure that his staff, which is involved in the processing of the Personal Data, is aware of the importance of the fair processing of Personal Data and of the obligations of the Grid Operator imposed by this Code.
351 | G2.5.0 | Dutch P&S reqs v2.0 | Every Grid Operator shall appoint an employee, who is tasked by the board of management to ensure compliance with this Code.
352 | G3.2.0-G3.3.0 | Dutch P&S reqs v2.0 | Every two (2) years, each Grid Operator shall establish an audit plan in order to verify compliance with this Code. Netbeheer Nederland may, in consultation with its member, suggest specific point of interest for audits.
353 | G4.0.0-G4.1.1 | Dutch P&S reqs v2.0 | The grid operator must ensure that the purposes for data collection and data processing are clearly specified, explicitly described and for legitimate purposes (purpose limitation)
354 | G4.1.2 | Dutch P&S reqs v2.0 | The Grid Operator may process Smart Meter Data in connection with the technical control of the Grid. This covers at least the following activities: (a) Locating and solving voltage interruptions ; (b) Executing control orders;(c) Improving business operations and functional control;( d) Reducing grid loss;(e) Facilitating energy transition.
355 | G4.1.3 | Dutch P&S reqs v2.0 | Where necessary, monitoring information may be collected and processed via the Smart Meter for the purpose of technical control of the Grid. The Grid Operator shall only use such Smart Meter Data for the monitoring of power quality, locating interruptions and compensation in case of outages.
356 | G4.1.4 | Dutch P&S reqs v2.0 | Where Smart Meter is switched to ‘remote read out opt-out’ following the Private Consumer’s request, it is not allowed to remotely read the Smart Meter for the purposes of technical control of the Grid.
357 | G4.2.1 | Dutch P&S reqs v2.0 | The Grid Operator may process Smart Meter Data in connection with the management of the Smart Meter. This includes at least the following activities: (a) Synchronising the clock and calendar embedded in the Smart Meter; (b) Checking the battery status of the Smart Meter;( c) Maintaining the Smart Meter, such as updating the firmware; (d) Detecting failures;(e) Acting on the basis of status information of the Smart Meter (such as indicators, alarms and failure notifications); and (f) Testing the correct functioning of the Smart Meter.
358 | G4.2.2 | Dutch P&S reqs v2.0 | The Grid Operator shall use the Smart Meter Data, which have been collected for the purpose of meter management, only for the management of the Smart Meter.
359 | G4.2.3 | Dutch P&S reqs v2.0 | Contrary to the choices made by the Private Consumer, interval readings may be collected and processed during a reasonable and short period after the Smart Meter has been installed or after a failure has been solved in order to check the correct functioning of the Smart Meter.
360 | G4.2.4 | Dutch P&S reqs v2.0 | Contrary to the choices made by the Private Consumer, Smart Meter Data, other than Meter Readings, may be collected from or transmitted to the Smart Meter as often as necessary for the purpose of meter management.
361 | G4.3.1 | Dutch P&S reqs v2.0 | The Grid Operator may process Smart Meter Data for the purpose of analytics and statistics, including the creation of group profiles. The Grid Operator shall take the necessary protection measures to ensure that Smart Meter Data are only processed for the purposes mentioned in the first sentence. In principle, Smart Meter Data, which also qualify as Personal Data, shall be anonymised.
362 | G4.3.2 | Dutch P&S reqs v2.0 | The Grid Operator may make the Smart Meter Data available for scientific research. Where the research is conducted by a Third Party, the measures shall be, insofar relevant, described in a contract entered into between the Grid Operator and the Third Party.
363 | G4.3.3 | Dutch P&S reqs v2.0 | Where the Private Consumer has indicated that the Smart Meter should be to switch to “remote read out opt-out” , it is not allowed to remotely read the Smart Meter for analytics.
364 | G4.4.0 | Dutch P&S reqs v2.0 | The Grid Operator may process Smart Meter Data for the purpose of Market Facilitation, which includes at least the following activities: (a) Facilitating the activities of Third Parties related to energy-saving; (b) Other Market Facilitation activities.
365 | G4.4.1 | Dutch P&S reqs v2.0 | The processing of Smart Meter Data for the purpose of Market Facilitation is only allowed at the request of an Energy Supplier or ISP, or in connection with the Grid Operator’s statutory duties.
366 | G4.4.2 | Dutch P&S reqs v2.0 | Where the Private Consumer has indicated that the Smart Meter should be to switch to “remote read out opt-out” , it is not allowed to remotely read the Smart Meter for the activities (a) Facilitating the activities of Third Parties related to energy-saving; (b) Other Market Facilitation activities.
367 | G4.4.3 | Dutch P&S reqs v2.0 | The Grid Operator may make the Interval Reading or the Meter Readings available to Energy Suppliers and ISP’s in connection with their services related to energy-saving or the more efficient use of energy.
368 | G4.4.4 | Dutch P&S reqs v2.0 | Six (6) times a year, the Grid Operator shall make the Meter Readings available to Energy Suppliers for the purpose of preparation of the consumption statement, unless the Private Consumer, has indicated that the Smart Meter should be switched to “remote read out opt-out”
369 | G4.4.5 | Dutch P&S reqs v2.0 | The transmission of the Interval Readings to the Energy Supplier or ISP is only allowed with the unambiguous prior consent given by the Private Consumer to the Controller in accordance with article 8 Wbp.
370 | G4.4.6 | Dutch P&S reqs v2.0 | The Grid Operator may collect and further process Smart Meter Data for the purpose of other Market Facilitation activities. This includes at least: (a) Making the Meter Readings available to the Energy Supplier for the purpose of billing; (b) Activities in the context of variable pricing; (c) Sending control commands to the Smart Meter.
371 | G4.4.7 | Dutch P&S reqs v2.0 | The Grid Operator makes the Smart Meter Data available to the Energy Supplier as often as necessary for the purpose of billing, at least once a year and in the case of changes at the side of the Private Consumer, such as change of address, change of Energy Supplier, transition of Private Consumer to a large capacity consumer, or termination of the connection or contract (such as in case of death of the only Private Consumer at an address).
372 | G4.4.8 | Dutch P&S reqs v2.0 | The Grid Operator shall disclose the Smart Meter Data only to the Energy Supplier, which has a contract with the Private Consumer concerning the supply of electricity or gas. Smart Meter Data shall not be collected with intervals shorter than as agreed with the Private Consumer
373 | G4.5.0 | Dutch P&S reqs v2.0 | The Grid Operator may collect and process Smart Meter Data for the purpose of offering Other Services.
374 | G4.5.1 | Dutch P&S reqs v2.0 | Processing Smart Meter Data for the purpose of Other Services is only allowed insofar necessary for the performance of a contract for Other Services to which the Private Consumer is party or with his unambiguous prior consent.
375 | G4.5.2 | Dutch P&S reqs v2.0 | If Smart Meter Data, which have been collected by the Grid Operator are needed for Other Services, the Grid Operator shall specifically inform the Private Consumer about such use when requesting consent for the collection and use of Smart Meter Data for the purpose of the Other Service, or at the time the contract for the Other Service is entered into.
376 | G4.5.3 | Dutch P&S reqs v2.0 | Where the Private Consumer has indicated that the Smart Meter should be to switch to “remote read out opt-out”, it is not allowed to remotely read the Smart Meter for the Other Services.
377 | G4.6.0 | Dutch P&S reqs v2.0 | The Grid Operator shall process Smart Meter Data only for the purposes in accordance with the Electricity Act of 1998 and the Gas Act. These purposes are: (a) Managing the electricity and gas grids, the Smart Meter and related activities; (b) Facilitating the services of an Energy Supplier or ISP to the Private Consumer; (c) Providing Other Services to Private Consumers, and (d) Complying with any other legal obligation of the Grid Operator insofar this is not a part of sections (a) or (b) of this article.
378 | G5.1.0 | Dutch P&S reqs v2.0 | The Grid Operator shall process the Personal Data only if and insofar at least one of the following grounds for the processing apply: (a) the Private Consumer has unambiguously given his consent for the processing of the Personal Data; (b) the processing is necessary for the performance of a contract to which the Private Consumer is party or in order to take steps at the request of the Private Consumer prior to entering into a contract; (c) the processing is necessary for compliance with a legal obligation to which the Grid Operator is subject; (d) the processing is necessary in order to protect the vital interests of the Private Consumer;(e) the processing is necessary for the proper performance of a public interest task carried out by an administrative body to whom the data are disclosed; or (f) the processing is necessary for the purposes of the legitimate interests pursued by the Grid Operator or by a Third Party to whom the data are disclosed, except where such interests are overridden by the interests for fundamental rights and freedoms of the Private Consumer, in particular his right to privacy.
379 | G5.2.0/G5.2.1 | Dutch P&S reqs v2.0 | The Grid Operator shall process Personal Data only for other purposes insofar such processing is not incompatible with the purposes for which the Grid Operator has originally obtained the Personal Data (“Further Processing”). Where the Personal Data are Further Processed, the Grid Operator shall ensure that appropriate safeguards for the protection of the privacy of the Private Consumer are taken in view of the relationship between the envisaged purpose and the purpose for which the data where originally obtained, the nature of the Personal Data, the expected consequences of the Further Processing for the Private Consumer and the way in which the data were obtained.
380 | G5.3.0 | Dutch P&S reqs v2.0 | The Grid Operator shall implement measures to ensure that Personal Data, given the purposes for which the Grid Operator processes the data, are accurate, sufficient, relevant and not excessive.
381 | G5.4.0 | Dutch P&S reqs v2.0 | The Grid Operator shall not retain Personal Data longer than necessary for the purposes as referred to in Chapter 5 of this Code.
382 | G5.5.0/G5.7.1 | Dutch P&S reqs v2.0 | In exceptional circumstances, provided due consideration is given to all relevant facts and circumstances, articles 4.4., 4.9 and 6.2.1 of this Code may be set aside if a pressing need to do so exists, and provided such need outweighs the rights and freedoms of the Private Consumer, including: (a) the prevention, detection, investigation, and prosecution of a violation of laws and regulations, or the corporate policy of the Grid Operator, including the cooperation with (supervisory) authorities; (b) the protection and defence of the rights and freedoms of the Grid Operator, of his staff or of other persons (the Private Consumer and Third Parties included), including: The protection of the safety and security of Grid Operator staff, the Private Consumer and others; the protection of the Grid Operator’s trade secrets, reputation or business continuity; The safeguarding of the continuity of the distribution of electricity and/or gas as well as the protection and the security of the Grid.
383 | G5.5.1 | Dutch P&S reqs v2.0 | Where Personal Data are collected from the Private Consumer, the Grid Operator shall inform the Private Consumer of his identity and the purposes of the processing of the Personal Data. Furthermore, the Grid Operator shall provide information to ensure a fair processing with respect to the Private Consumer, given the nature of the data, the circumstances in which the data were obtained or the use of the data. Where the Grid Operator collects Personal Data on the basis of the Private Consumer’s unambiguous consent, the Grid Operator shall inform the Private Consumer also of the consequences of his consent as well as of the fact that consent may be withdrawn at any time. The obligation to inform the Private Consumer needs to be complied with prior to the collection of Personal Data via the Smart Meter. The information does not need to be provided where the Grid Operator may reasonably assume that the Private Consumer already has such information or where the data are processed on behalf of an Energy Supplier or ISP with which the Private Consumer has entered into a contract. In such case, the Grid Operator may assume that the Private Consumer already has been informed by the Energy Supplier or the ISP.
384 | G5.6.0 | Dutch P&S reqs v2.0 | The Grid Operator shall notify the CBP, or alternatively his own DPO, of the processing of Personal Data in the context of the Smart Meter infrastructure, insofar as required by the Wbp.
385 | G6.1.1 | Dutch P&S reqs v2.0 | Within a reasonable time prior to the installation of the Smart Meter, the Private Consumer must be informed about the various choices with respect to the processing of Smart Meter Data. These choices concern: (a) The installation of the Smart Meter; (b) The remote readability of the Smart Meter; (c) The frequency with which the Smart Meter is remotely read.
386 | G6.10.1 | Dutch P&S reqs v2.0 | Subject to first having completed the internal dispute resolution procedure of the Grid Operator, the Private Consumer, who believes that the Grid Operator violates this Code or the Wbp, has the right to address the Arbitration Board for Energy and Water. The Private Consumer may also directly address the CBP or the competent court. In any case, he is required to comply with the terms stated in articles 46 and 47 Wbp as well as with the provisions of the Terms & Conditions.
387 | G6.10.2 | Dutch P&S reqs v2.0 | Every Grid Operator keeps a registry of the disputes and their outcomes.
388 | G6.2.1 | Dutch P&S reqs v2.0 | Where the Private Consumer prior the installation of the Smart Meter has informed the Grid Operator of his objection to the installation of the Smart Meter, the Smart Meter shall not be installed.
389 | G6.3.0 | Dutch P&S reqs v2.0 | The Private Consumer has the right to request the Grid Operator at any time to change the remote readability of the Smart Meter.
390 | G6.3.1 | Dutch P&S reqs v2.0 | The remote readability of the Smart Meter can be switched on (“administratively up”) or off (“remote read out opt-out”).
391 | G6.3.1 | Dutch P&S reqs v2.0 | The Grid Operator shall carry out the request to change the remote readability of the Smart Meter as soon as possible.
392 | G6.4.1 | Dutch P&S reqs v2.0 | Where the Private Consumer has not made a choice with regard to the frequency, with which the Smart Meter may be remotely read, the Grid Operator shall remotely read the Smart Meter in accordance with the following schedule: (a) Once per year for the purpose of preparing the bill by the Energy Supplier; (b) Once every two (2) months for the purpose of awareness about the energy consumption; (c) Ad hoc insofar necessary for the change of Energy Supplier, change of address, termination of the connection, technical control of the Grid, or management of the Smart Meter.
393 | G6.4.1 | Dutch P&S reqs v2.0 | Reading the Smart Meter with a higher frequency requires the unambiguous prior consent of the Private Consumer given to the Energy Supplier or ISP, or a contract between the Private Consumer and the Energy Supplier or ISP.
394 | G6.4.1 | Dutch P&S reqs v2.0 | The Private Consumer has the right to withdraw his consent at any time via the Energy Supplier or ISP.
395 | G6.5.0 | Dutch P&S reqs v2.0 | Without prejudice to the Electricity Act of 1998, the Gas Act and the Terms & Conditions and articles 4.12 to 4.15 of this Code, the Private Consumer has the right of access to and correction of the Smart Meter Data, as well as the right to object to the processing of Smart Meter Data by the Grid Operator.
396 | G6.5.1 | Dutch P&S reqs v2.0 | With respect to the exercise of these rights, the Private Consumer should address the Grid Operator with which he has a contract related to the connection to the electricity or gas grid or the transport of electricity or gas.
397 | G6.5.2 | Dutch P&S reqs v2.0 | The Grid Operator may deny a Private Consumer’s request for correction of the Personal Data or the Smart Meter Data if the Private Consumer did not comply with the terms of the Terms & Conditions related to the correct determination of the Metering Data and dispute resolution.
398 | G6.6.1 | Dutch P&S reqs v2.0 | The Private Consumer has the right to ask the Grid Operator with reasonable intervals for an overview of specific Personal Data related to him, which are processed by the Grid Operator (‘right of access’). With the exception of cases referred to in article 4.11, the Grid Operator shall provide the Private Consumer with a full overview of the Personal Data within four (4) weeks after receipt of the request. Furthermore, where the Grid Operator does not process Personal Data related to the Private Consumer, the Grid Operator shall inform the Private Consumer within four (4) weeks of this fact. The overview contains in intelligible form: a) the description of the purpose or purposes for which the Personal Data are processed; b) the categories of Personal Data to which the processing relates; c) the recipients or categories of recipients of the Personal Data, and d) the available information as to the origin of the Personal Data. The Grid Operator shall ensure the adequate identification of the person making the request.
399 | G6.8.0/G6.8.1 | Dutch P&S reqs v2.0 | The Private Consumer has the right to request correction, completion, erasure or blocking of the Personal Data related to him if the overview indicates that the Personal Data are factually incorrect, incomplete or irrelevant as to the purposes or otherwise infringes this Code or the Wbp. The Grid Operator shall inform the Private Consumer in writing within four (4) weeks after receipt of the request whether and, if so, to what extent the request has been complied with. Where a request of the Private Consumer is not or not entirely complied with, the Grid Operator shall explain the reasons for the refusal.
400 | G6.9.0/G6.9.1 | Dutch P&S reqs v2.0 | Where the processing of the Personal Data is based on the grounds " (e) the processing is necessary for the proper performance of a public interest task carried out by an administrative body to whom the data are disclosed; or (f) the processing is necessary for the purposes of the legitimate interests pursued by the Grid Operator or by a Third Party to whom the data are disclosed, except where such interests are overridden by the interests for fundamental rights and freedoms of the Private Consumer, in particular his right to privacy", the Private Consumer has the right to object to the processing of his Personal Data in connection with his particular circumstances. The Grid Operator shall review the legitimacy of the request within four (4) weeks. Where such is the case, the processing of the Personal Data of the Private Consumer shall be terminated immediately.
External parties
401 |  | NIST | The organization establishes personnel security requirements including security roles and responsibilities for third-party providers and monitors provider compliance.
402 |  | 27001 | The risks to the organization’s information and information processing facilities from business processes involving external parties shall be identified and appropriate controls implemented before granting access.
403 |  | 27001 | It shall be ensured that the security controls, service definitions and delivery levels included in the third party service delivery agreement are implemented, operated, and maintained by the third party.
404 |  | 27001 | The services, reports and records provided by the third party shall be regularly monitored and reviewed, and audits shall be carried out regularly.
405 |  | 27001 | Agreements with third parties involving accessing, processing, communicating or managing the organization’s information or information processing facilities, or adding products or services to information processing facilities shall cover all relevant security requirements.
406 | 7.0.0 | Dutch P&S reqs v2.0 | The grid operator controls by means of written agreements relationships with third parties.
Asset management
407 |  | 27001 | All assets shall be clearly identified and an inventory of all important assets drawn up and maintained.
408 |  | 27001 | All information and assets associated with information processing facilities shall be ‘owned’ by a designated part of the organization.
409 |  | 27001 | Rules for the acceptable use of information and assets associated with information processing facilities shall be identified, documented, and implemented.
Human resources security
410 |  | NIST | The organization, upon termination of individual employment, terminates information system access, conducts exit interviews, retrieves all organizational information system-related property, and provides appropriate personnel with access to official records created by the terminated employee that are stored on organizational information systems.
411 |  | NIST | The organization develops, disseminates, and periodically reviews/updates: (i) a formal, documented, security awareness and training policy that addresses purpose, scope, roles, responsibilities, management commitment, coordination among organizational entities, and compliance; and (ii) formal, documented procedures to facilitate the implementation of the security awareness and training policy and associated security awareness and training controls.
412 |  | NIST | The organization provides basic security awareness training to all information system users (including managers and senior executives) before authorizing access to the system
413 |  | NIST | The organization identifies personnel that have significant information system security roles and responsibilities during the system development life cycle, documents those roles and responsibilities, and provides appropriate information system security training
414 |  | NIST | The organization documents and monitors individual information system security training activities including basic security awareness training and specific information system security training.
415 |  | ENISA | The organization establishes and maintains an appropriate structure of security roles and responsibilities
416 |  | 27001 | Background verification checks on all candidates for employment, contractors, and third party users shall be carried out in accordance with relevant laws, regulations and ethics, and proportional to the business requirements, the classification of the information to be accessed, and the perceived risks.
417 |  | 27001 | As part of their contractual obligation, employees, contractors and third party users shall agree and sign the terms and conditions of their employment contract, which shall state their and the organization’s responsibilities for information security.
418 |  | 27001 | There shall be a formal disciplinary process for employees who have committed a security breach.
419 |  | 27001 | All employees, contractors and third party users shall return all of the organization’s assets in their possession upon termination of their employment, contract or agreement
420 |  | 27001 | The access rights of all employees, contractors and third party users to information and information processing facilities shall be removed upon termination of their employment, contract or agreement, or adjusted upon change.
Media handling
421 |  | ENISA | The organization establishes and maintains secure procedures for the access, storage, distribution, transport, sanitization, destruction and disposal of the media assets.
422 |  | 27001 | Media shall be disposed of securely and safely when no longer required, using formal procedures.
423 |  | 27001 | Procedures for the handling and storage of information shall be established to protect this information from unauthorized disclosure or misuse.
424 |  | 27001 | Media containing information shall be protected against unauthorized access, misuse or corruption during transportation beyond an organization’s physical boundaries.

## Categories
Categories |  | Description | CC mapping
1 | Security Notification | Security logs Security events Detection of tampering, hacking | FAU
2 | Secure Communication | Non-repudiation Anti replay protection CIA for data in transit eavesdropping | FCO | FTP
3 | Cryptographic Support | Cryptography requirements: Technical credential management | FCS
4 | Access Control | Access Control Authentication Identification Key Management Session Management | FDP | FIA | FTA
5 | Data protection | C.I.A for data at rest | FPR | FDP
6 | Self Protection | Limitation of functionality Isolation of functionality Secure failure and start-up Upgrade security mechanism Firmware integrity check Trusted time source | FPT | FRU
7 | Security Management | Use of security modules Architectural requirements Key management Credential management | FMT